3.4 IWMAC Checklist – Technical and Electrical

For Kiona to be able to ensure the IWMAC visualisation we provide is correct, we need to receive adequate and accurate documentation. The aim is to create a simple, clear and understandable system for the end user of the installation.

The signals are often spread across many substations, distributed throughout the building stock. This requires the customer to set down in a systematic way which signals are to be presented in the technical pages.

- IWMAC can group signals by location, system, discipline or signal type, as desired.

- Clarification is required as to how signals should be grouped.

- A table with complete tag ID and description of the objects must be created; see "IWMAC TEMPLATE 02 – Technical signals.xltx" for the presentation of supporting data.

- If there are limit values or other attributes that are relevant, these must also be included in the overview.

| Checklist – Technical and Electrical |  | System no.:_____________________ Device:________________________ |
| --- | --- | --- |
| Checkpoint | Explanation | Done (Yes/No) |
| Customer has submitted a list of all technical signals to be presented in IWMAC screen images. |  |  |
| Customer has clarified with Kiona how signals are to be grouped for presentation. |  |  |
| Submitted documentation contains all information requested in this document. |  |  |
| Parameters have the same names as in the parameter lists. |  |  |
| Points on the checklist for the communication protocol have been dealt with. |  |  |
| Any additional functions, such as weather forecast, power monitor, measured value distribution, alarm functions and similar, are set out in written supporting documentation. | Remember to order smart functions if necessary. |  |