3.5 IWMAC Checklist – Energy Report

When you order an energy module from Kiona, all energy meters are entered into an energy report in IWMAC.

For Kiona to be able to create a clear report, we need the customer to send us complete and accurate information about all the meters on the installation:

- All physical meters must have been implemented and commissioned on the installation.

- A quality assurance procedure must be undertaken, confirming that the physical meter and IWMAC show the same value.

- Kiona must receive a list of the meters with labelling, plus an indication of the group in which the customer wants them presented; see document "1 – Design and Integration Guide".

- It is also important to specify the device from which the measured value is to be taken (PLC, meter, district heating plant, etc.). See "IWMAC TEMPLATE 01 – Energy report.xltx".

A standard grouping is offered:

- Energy – Electrical

- Energy – Thermal Heat

- Energy – Thermal Cooling

- Water Meters – Volume

In an energy report, the meters are entered 1 to 1 and no calculations are offered in this setup. If calculations are required, the setup must be upgraded to an energy monitoring system (EOS), where Kiona offers a more advanced and building-specific setup.

| Checklist – Energy Report |  | System:____________________ |
| --- | --- | --- |
| Checkpoint | Explanation | Done (Yes/No) |
| Meter structure submitted to Kiona. |  |  |
| Measured values on all meters have been checked and approved. |  |  |