## Template 1
DX9100 Template for IWMAC
Gruppe | Element_id | System number | Tag text | Aliastext | Alarm | Eng unit | Scale | Read/ReadWrite | State text | Scaling | Eng Unit
[10 empty] | x100 | °C
[10 empty] | x10 | °C/Bar
[10 empty] | x1 | Bar
[10 empty] | x0.5 | %
[10 empty] | x0.1 | Volt
[10 empty] | x0.01 | V
[10 empty] | x0.001 | A
Hz
kW
[10 empty] | Tag text | kvar
[10 empty] | TFM Tags | kVA
kWh
[10 empty] | System Number | MWh
[10 empty] | TFM System Numbers | m3
m3/h
pc
[10 empty] | Element ID | sek
[10 empty] | Element_ID | min
h
step
[10 empty] | Time Schedules | day
[10 empty] | Oppgis under her: | C
ppm
Pa
s
Alarm status
[11 empty] | A | SMS / or Alarmcenter
[11 empty] | B | Only System Alarm
[11 empty] | C | Only System Alarm

## Template 2
DX9100 Template for IWMAC
Gruppe | Element_id | System number | Tag text | Aliastext | Alarm | Eng unit | Scale | Read/ReadWrite | State text | Scaling | Eng Unit
[10 empty] | x100 | °C
[10 empty] | x10 | °C/Bar
[10 empty] | x1 | Bar
[10 empty] | x0.5 | %
[10 empty] | x0.1 | Volt
[10 empty] | x0.01 | V
[10 empty] | x0.001 | A
Hz
kW
[10 empty] | Tag text | kvar
[10 empty] | TFM Tags | kVA
kWh
[10 empty] | System Number | MWh
[10 empty] | TFM System Numbers | m3
m3/h
pc
[10 empty] | Element ID | sek
[10 empty] | Element_ID | min
h
step
[10 empty] | Time Schedules | day
[10 empty] | Oppgis under her: | C
ppm
Pa
s
Alarm status
[11 empty] | A | SMS / or Alarmcenter
[11 empty] | B | Only System Alarm
[11 empty] | C | Only System Alarm

## Example
DX9100 Template for IWMAC
Gruppe | Element_id | System number | Tag text | Aliastext | Alarm | Eng unit | Scale | Read/ReadWrite | State text | Scaling | Eng Unit
Settings | PM01K01 | 360.01 | RT40 | Setpoint |  | °C |  | rw |  | x100 | °C
Analogue values | AI1 | 360.01 | RT40 | Supply air temp |  | °C |  | r |  | x10 | °C/Bar
Analogue values | AI2 | 360.01 | RT42 | After HRC |  | °C |  | r |  | x1 | Bar
Analogue values | AI3 | 360.01 | RT90 | Outdoor temp |  | °C |  | r |  | x0.5 | %
Analogue outputs | OUT1 | 360.01 | SB41 | Battery signal |  | % |  | r |  | x0.1 | Volt
Digital inputs | DI4 | 360.01 | RY40 | CO2 sensor | B |  |  | r | 0=OK 1=Alarm | x0.01 | V
Digital outputs | DO3 | 360.01 | JV50 | Extract fan |  |  |  | r | 0=Off 1=On | x0.001 | A
Hz
kW
[10 empty] | Tag text | kvar
[10 empty] | TFM Tags | kVA
kWh
[10 empty] | System Number | MWh
[10 empty] | TFM System Numbers | m3
m3/h
pc
[10 empty] | Element ID | sec
[10 empty] | Element_ID | min
h
step
[10 empty] | Time Schedules | day
[10 empty] | Specify below: | C
[10 empty] | TS1 = Ventilation operation | ppm
[10 empty] | TS2 = Defrost | Pa
s
Alarm status
[11 empty] | A | SMS / or Alarmcenter
[11 empty] | B | Only System Alarm
[11 empty] | C | Only System Alarm

## Element IDs
Element_id | driver_id | default application | parameter_type | Default Navn | Default Group | Default Menu | Default RW
AI1 | 04C0_N_07 | Analog values | float | Reserve. | ai | X1 | r
AI2 | 04D0_N_07 | Analog values | float | Reserve. | ai | X2 | r
AI3 | 04E0_N_07 | Analog values | float | Reserve. | ai | X3 | r
AI4 | 04F0_N_07 | Analog values | float | Reserve. | ai | X4 | r
AI5 | 0500_N_07 | Analog values | float | Reserve. | ai | X5 | r
AI6 | 0510_N_07 | Analog values | float | Reserve. | ai | X6 | r
AI7 | 0520_N_07 | Analog values | float | Reserve. | ai | X7 | r
AI8 | 0530_N_07 | Analog values | float | Reserve. | ai | X8 | r
DIS | 0000_B_06 | Integral values | integer | Digital input, alle | di |  | r
DI1 | 0000_B_06.0 | Digital IO | boolean | Reserve. | di | D1 | r
DI2 | 0000_B_06.1 | Digital IO | boolean | Reserve. | di | D2 | r
DI3 | 0000_B_06.2 | Digital IO | boolean | Reserve. | di | D3 | r
DI4 | 0000_B_06.3 | Digital IO | boolean | Reserve. | di | D4 | r
DI5 | 0000_B_06.4 | Digital IO | boolean | Reserve. | di | D5 | r
DI6 | 0000_B_06.5 | Digital IO | boolean | Reserve. | di | D6 | r
DI7 | 0000_B_06.6 | Digital IO | boolean | Reserve. | di | D7 | r
DI8 | 0000_B_06.7 | Digital IO | boolean | Reserve. | di | D8 | r
OUT1 | 0540_N_06 | Analog values | float | Reserve. | ao | Y1 | r
OUT2 | 0550_N_06 | Analog values | float | Reserve. | ao | Y2 | r
OUT9 | 0900_N_06 | Analog values | float | Reserve. | ao | Y9 | r
OUT10 | 0910_N_06 | Analog values | float | Reserve. | ao | Y10 | r
OUT11 | 0920_N_06 | Analog values | float | Reserve. | ao | Y11 | r
OUT12 | 0930_N_06 | Analog values | float | Reserve. | ao | Y12 | r
OUT13 | 0940_N_06 | Analog values | float | Reserve. | ao | Y13 | r
OUT14 | 0950_N_06 | Analog values | float | Reserve. | ao | Y14 | r
TOS | 0000_B_05 | Integral values | integer | Digital output, alle | do |  | r
DO3 | 0000_B_05.0 | Digital IO | boolean | Reserve. | do | Y3 | r
DO4 | 0000_B_05.1 | Digital IO | boolean | Reserve. | do | Y4 | r
DO5 | 0000_B_05.2 | Digital IO | boolean | Reserve. | do | Y5 | r
DO6 | 0000_B_05.3 | Digital IO | boolean | Reserve. | do | Y6 | r
DO7 | 0000_B_05.4 | Digital IO | boolean | Reserve. | do | Y7 | r
DO8 | 0000_B_05.5 | Digital IO | boolean | Reserve. | do | Y8 | r
LRST1 | 0000_C_08 | Integral values | integer | LRST1, alle | const |  | r
LRS1 | 0000_C_08.0 | Digital IO | boolean | Reserve. | const | LRS1 | r
LRS2 | 0000_C_08.1 | Digital IO | boolean | Reserve. | const | LRS2 | r
LRS3 | 0000_C_08.2 | Digital IO | boolean | Reserve. | const | LRS3 | r
LRS4 | 0000_C_08.3 | Digital IO | boolean | Reserve. | const | LRS4 | r
LRS5 | 0000_C_08.4 | Digital IO | boolean | Reserve. | const | LRS5 | r
LRS6 | 0000_C_08.5 | Digital IO | boolean | Reserve. | const | LRS6 | r
LRS7 | 0000_C_08.6 | Digital IO | boolean | Reserve. | const | LRS7 | r
LRS8 | 0000_C_08.7 | Digital IO | boolean | Reserve. | const | LRS8 | r
LRS9 | 0000_C_08.8 | Digital IO | boolean | Reserve. | const | LRS9 | r
LRS10 | 0000_C_08.9 | Digital IO | boolean | Reserve. | const | LRS10 | r
LRS11 | 0000_C_08.10 | Digital IO | boolean | Reserve. | const | LRS11 | r
LRS12 | 0000_C_08.11 | Digital IO | boolean | Reserve. | const | LRS12 | r
LRS13 | 0000_C_08.12 | Digital IO | boolean | Reserve. | const | LRS13 | r
LRS14 | 0000_C_08.13 | Digital IO | boolean | Reserve. | const | LRS14 | r
LRS15 | 0000_C_08.14 | Digital IO | boolean | Reserve. | const | LRS15 | r
LRS16 | 0000_C_08.15 | Digital IO | boolean | Reserve. | const | LRS16 | r
LRST2 | 0000_C_09 | Integral values | integer | LRST2, alle | const |  | r
LRS17 | 0000_C_09.0 | Digital IO | boolean | Reserve. | const | LRS17 | r
LRS18 | 0000_C_09.1 | Digital IO | boolean | Reserve. | const | LRS18 | r
LRS19 | 0000_C_09.2 | Digital IO | boolean | Reserve. | const | LRS19 | r
LRS20 | 0000_C_09.3 | Digital IO | boolean | Reserve. | const | LRS20 | r
LRS21 | 0000_C_09.4 | Digital IO | boolean | Reserve. | const | LRS21 | r
LRS22 | 0000_C_09.5 | Digital IO | boolean | Reserve. | const | LRS22 | r
LRS23 | 0000_C_09.6 | Digital IO | boolean | Reserve. | const | LRS23 | r
LRS24 | 0000_C_09.7 | Digital IO | boolean | Reserve. | const | LRS24 | r
LRS25 | 0000_C_09.8 | Digital IO | boolean | Reserve. | const | LRS25 | r
LRS26 | 0000_C_09.9 | Digital IO | boolean | Reserve. | const | LRS26 | r
LRS27 | 0000_C_09.10 | Digital IO | boolean | Reserve. | const | LRS27 | r
LRS28 | 0000_C_09.11 | Digital IO | boolean | Reserve. | const | LRS28 | r
LRS29 | 0000_C_09.12 | Digital IO | boolean | Reserve. | const | LRS29 | r
LRS30 | 0000_C_09.13 | Digital IO | boolean | Reserve. | const | LRS30 | r
LRS31 | 0000_C_09.14 | Digital IO | boolean | Reserve. | const | LRS31 | r
LRS32 | 0000_C_09.15 | Digital IO | boolean | Reserve. | const | LRS32 | r
LRST3 | 0000_C_2C | Integral values | integer | LRST3, alle | const |  | r
LRS33 | 0000_C_2C.0 | Digital IO | boolean | Reserve. | const | LRS33 | r
LRS34 | 0000_C_2C.1 | Digital IO | boolean | Reserve. | const | LRS34 | r
LRS35 | 0000_C_2C.2 | Digital IO | boolean | Reserve. | const | LRS35 | r
LRS36 | 0000_C_2C.3 | Digital IO | boolean | Reserve. | const | LRS36 | r
LRS37 | 0000_C_2C.4 | Digital IO | boolean | Reserve. | const | LRS37 | r
LRS38 | 0000_C_2C.5 | Digital IO | boolean | Reserve. | const | LRS38 | r
LRS39 | 0000_C_2C.6 | Digital IO | boolean | Reserve. | const | LRS39 | r
LRS40 | 0000_C_2C.7 | Digital IO | boolean | Reserve. | const | LRS40 | r
LRS41 | 0000_C_2C.8 | Digital IO | boolean | Reserve. | const | LRS41 | r
LRS42 | 0000_C_2C.9 | Digital IO | boolean | Reserve. | const | LRS42 | r
LRS43 | 0000_C_2C.10 | Digital IO | boolean | Reserve. | const | LRS43 | r
LRS44 | 0000_C_2C.11 | Digital IO | boolean | Reserve. | const | LRS44 | r
LRS45 | 0000_C_2C.12 | Digital IO | boolean | Reserve. | const | LRS45 | r
LRS46 | 0000_C_2C.13 | Digital IO | boolean | Reserve. | const | LRS46 | r
LRS47 | 0000_C_2C.14 | Digital IO | boolean | Reserve. | const | LRS47 | r
LRS48 | 0000_C_2C.15 | Digital IO | boolean | Reserve. | const | LRS48 | r
LRST4 | 0000_C_2D | Integral values | integer | LRST4, alle | const |  | r
LRS49 | 0000_C_2D.0 | Digital IO | boolean | Reserve. | const | LRS49 | r
LRS50 | 0000_C_2D.1 | Digital IO | boolean | Reserve. | const | LRS50 | r
LRS51 | 0000_C_2D.2 | Digital IO | boolean | Reserve. | const | LRS51 | r
LRS52 | 0000_C_2D.3 | Digital IO | boolean | Reserve. | const | LRS52 | r
LRS53 | 0000_C_2D.4 | Digital IO | boolean | Reserve. | const | LRS53 | r
LRS54 | 0000_C_2D.5 | Digital IO | boolean | Reserve. | const | LRS54 | r
LRS55 | 0000_C_2D.6 | Digital IO | boolean | Reserve. | const | LRS55 | r
LRS56 | 0000_C_2D.7 | Digital IO | boolean | Reserve. | const | LRS56 | r
LRS57 | 0000_C_2D.8 | Digital IO | boolean | Reserve. | const | LRS57 | r
LRS58 | 0000_C_2D.9 | Digital IO | boolean | Reserve. | const | LRS58 | r
LRS59 | 0000_C_2D.10 | Digital IO | boolean | Reserve. | const | LRS59 | r
LRS60 | 0000_C_2D.11 | Digital IO | boolean | Reserve. | const | LRS60 | r
LRS61 | 0000_C_2D.12 | Digital IO | boolean | Reserve. | const | LRS61 | r
LRS62 | 0000_C_2D.13 | Digital IO | boolean | Reserve. | const | LRS62 | r
LRS63 | 0000_C_2D.14 | Digital IO | boolean | Reserve. | const | LRS63 | r
LRS64 | 0000_C_2D.15 | Digital IO | boolean | Reserve. | const | LRS64 | r
LCOS1 | 0000_C_0A | Integral values | integer | LCOS1, alle | const
DCO1 | 0000_C_0A.0 | Digital IO | boolean | Reserve. | const | DCO1 | rw
DCO2 | 0000_C_0A.1 | Digital IO | boolean | Reserve. | const | DCO2 | rw
DCO3 | 0000_C_0A.2 | Digital IO | boolean | Reserve. | const | DCO3 | rw
DCO4 | 0000_C_0A.3 | Digital IO | boolean | Reserve. | const | DCO4 | rw
DCO5 | 0000_C_0A.4 | Digital IO | boolean | Reserve. | const | DCO5 | rw
DCO6 | 0000_C_0A.5 | Digital IO | boolean | Reserve. | const | DCO6 | rw
DCO7 | 0000_C_0A.6 | Digital IO | boolean | Reserve. | const | DCO7 | rw
DCO8 | 0000_C_0A.7 | Digital IO | boolean | Reserve. | const | DCO8 | rw
DCO9 | 0000_C_0A.8 | Digital IO | boolean | Reserve. | const | DCO9 | rw
DCO10 | 0000_C_0A.9 | Digital IO | boolean | Reserve. | const | DCO10 | rw
DCO11 | 0000_C_0A.10 | Digital IO | boolean | Reserve. | const | DCO11 | rw
DCO12 | 0000_C_0A.11 | Digital IO | boolean | Reserve. | const | DCO12 | rw
DCO13 | 0000_C_0A.12 | Digital IO | boolean | Reserve. | const | DCO13 | rw
DCO14 | 0000_C_0A.13 | Digital IO | boolean | Reserve. | const | DCO14 | rw
DCO15 | 0000_C_0A.14 | Digital IO | boolean | Reserve. | const | DCO15 | rw
DCO16 | 0000_C_0A.15 | Digital IO | boolean | Reserve. | const | DCO16 | rw
LCOS2 | 0000_C_0B | Integral values | integer | LCOS2, alle | const
DCO17 | 0000_C_0B.0 | Digital IO | boolean | Reserve. | const | DCO17 | rw
DCO18 | 0000_C_0B.1 | Digital IO | boolean | Reserve. | const | DCO18 | rw
DCO19 | 0000_C_0B.2 | Digital IO | boolean | Reserve. | const | DCO19 | rw
DCO20 | 0000_C_0B.3 | Digital IO | boolean | Reserve. | const | DCO20 | rw
DCO21 | 0000_C_0B.4 | Digital IO | boolean | Reserve. | const | DCO21 | rw
DCO22 | 0000_C_0B.5 | Digital IO | boolean | Reserve. | const | DCO22 | rw
DCO23 | 0000_C_0B.6 | Digital IO | boolean | Reserve. | const | DCO23 | rw
DCO24 | 0000_C_0B.7 | Digital IO | boolean | Reserve. | const | DCO24 | rw
DCO25 | 0000_C_0B.8 | Digital IO | boolean | Reserve. | const | DCO25 | rw
DCO26 | 0000_C_0B.9 | Digital IO | boolean | Reserve. | const | DCO26 | rw
DCO27 | 0000_C_0B.10 | Digital IO | boolean | Reserve. | const | DCO27 | rw
DCO28 | 0000_C_0B.11 | Digital IO | boolean | Reserve. | const | DCO28 | rw
DCO29 | 0000_C_0B.12 | Digital IO | boolean | Reserve. | const | DCO29 | rw
DCO30 | 0000_C_0B.13 | Digital IO | boolean | Reserve. | const | DCO30 | rw
DCO31 | 0000_C_0B.14 | Digital IO | boolean | Reserve. | const | DCO31 | rw
DCO32 | 0000_C_0B.15 | Digital IO | boolean | Reserve. | const | DCO32 | rw
ACO1 | 0000_N_22 | Analog values | float | Reserve. | const | ACO1 | rw
ACO2 | 0000_N_23 | Analog values | float | Reserve. | const | ACO2 | rw
ACO3 | 0000_N_24 | Analog values | float | Reserve. | const | ACO3 | rw
ACO4 | 0000_N_25 | Analog values | float | Reserve. | const | ACO4 | rw
ACO5 | 0000_N_26 | Analog values | float | Reserve. | const | ACO5 | rw
ACO6 | 0000_N_27 | Analog values | float | Reserve. | const | ACO6 | rw
ACO7 | 0000_N_28 | Analog values | float | Reserve. | const | ACO7 | rw
ACO8 | 0000_N_29 | Analog values | float | Reserve. | const | ACO8 | rw
PM01K01 | 0040_N_1A | Analog values | float | Reserve. | setp | Z1 | rw
PM02K01 | 00A0_N_1A | Analog values | float | Reserve. | setp | Z2 | rw
PM03K01 | 0100_N_1A | Analog values | float | Reserve. | setp | Z3 | rw
PM04K01 | 0160_N_1A | Analog values | float | Reserve. | setp | Z4 | rw
PM05K01 | 01C0_N_1A | Analog values | float | Reserve. | setp | Z5 | rw
PM06K01 | 0220_N_1A | Analog values | float | Reserve. | setp | Z6 | rw
PM07K01 | 0280_N_1A | Analog values | float | Reserve. | setp | Z7 | rw
PM08K01 | 02E0_N_1A | Analog values | float | Reserve. | setp | Z8 | rw
PM09K01 | 0340_N_1A | Analog values | float | Reserve. | setp | Z9 | rw
PM10K01 | 03A0_N_1A | Analog values | float | Reserve. | setp | Z10 | rw
PM11K01 | 0400_N_1A | Analog values | float | Reserve. | setp | Z11 | rw
PM12K01 | 0460_N_1A | Analog values | float | Reserve. | setp | Z12 | rw
XT1AI | 05C0_N | Integral values | integer | Analog input, alle | ai | XT1AI | r
XT1AI1 | 05C0_N_2D | Analog values | float | Reserve. | ai | XT1AI1 | r
XT1AI2 | 05C0_N_2E | Analog values | float | Reserve. | ai | XT1AI2 | r
XT1AI3 | 05C0_N_2F | Analog values | float | Reserve. | ai | XT1AI3 | r
XT1AI4 | 05C0_N_30 | Analog values | float | Reserve. | ai | XT1AI4 | r
XT1AI5 | 05C0_N_31 | Analog values | float | Reserve. | ai | XT1AI5 | r
XT1AI6 | 05C0_N_32 | Analog values | float | Reserve. | ai | XT1AI6 | r
XT1AO | 05C0_N | Integral values | integer | Analog output, alle | ao | XT1AO | r
XT1AO7 | 05C0_N_3B | Analog values | float | Reserve. | ao | XT1AO7 | r
XT1AO8 | 05C0_N_3C | Analog values | float | Reserve. | ao | XT1AO8 | r
XT1AO | 05C0_N_ | Integral values | integer | Analog output, alle | ao | XT1AO | r
XT1AO1 | 05C0_N_35 | Analog values | float | Reserve. | ao | XT1AO1 | r
XT1AO2 | 05C0_N_36 | Analog values | float | Reserve. | ao | XT1AO2 | r
XT1AO3 | 05C0_N_37 | Analog values | float | Reserve. | ao | XT1AO3 | r
XT1AO4 | 05C0_N_38 | Analog values | float | Reserve. | ao | XT1AO4 | r
XT1AO5 | 05C0_N_39 | Analog values | float | Reserve. | ao | XT1AO5 | r
XT1AO6 | 05C0_N_3A | Analog values | float | Reserve. | ao | XT1AO6 | r
XT1AO7 | 05C0_N_3B | Analog values | float | Reserve. | ao | XT1AO7 | r
XT1AO8 | 05C0_N_3C | Analog values | float | Reserve. | ao | XT1AO8 | r
XT1DO | 05C0_B_46 | Integral values | integer | Digital output, alle | do | XT1DO | r
XT1DO1 | 05C0_B_46.0 | Digital IO | boolean | Reserve. | do | XT1DO1 | r
XT1DO2 | 05C0_B_46.1 | Digital IO | boolean | Reserve. | do | XT1DO2 | r
XT1DO3 | 05C0_B_46.2 | Digital IO | boolean | Reserve. | do | XT1DO3 | r
XT1DO4 | 05C0_B_46.3 | Digital IO | boolean | Reserve. | do | XT1DO4 | r
XT1DO5 | 05C0_B_46.4 | Digital IO | boolean | Reserve. | do | XT1DO5 | r
XT1DO6 | 05C0_B_46.5 | Digital IO | boolean | Reserve. | do | XT1DO6 | r
XT1DO7 | 05C0_B_46.6 | Digital IO | boolean | Reserve. | do | XT1DO7 | r
XT1DO8 | 05C0_B_46.7 | Digital IO | boolean | Reserve. | do | XT1DO8 | r
r
XT1DIS | 05C0_B_47 | Integral values | integer | Digital input, alle | di | XT1DIS | r | XT1DIS | Digital input, alle | XT1AI | Analog input, alle
XT1DI1 | 05C0_B_47.0 | Digital IO | boolean | Reserve. | di | XT1DI1 | r | XT1DI1 | Reserve. | XT1AI1 | Reserve.
XT1DI2 | 05C0_B_47.1 | Digital IO | boolean | Reserve. | di | XT1DI2 | r | XT1DI2 | Reserve. | XT1AI2 | Reserve.
XT1DI3 | 05C0_B_47.2 | Digital IO | boolean | Reserve. | di | XT1DI3 | r | XT1DI3 | Reserve. | XT1AI3 | Reserve.
XT1DI4 | 05C0_B_47.3 | Digital IO | boolean | Reserve. | di | XT1DI4 | r | XT1DI4 | Reserve. | XT1AI4 | Reserve.
XT1DI5 | 05C0_B_47.4 | Digital IO | boolean | Reserve. | di | XT1DI5 | r | XT1DO | Digital output, alle | XT1AO | Analog output, alle
XT1DI6 | 05C0_B_47.5 | Digital IO | boolean | Reserve. | di | XT1DI6 | r | XT1DO5 | Reserve. | XT1AO5 | Reserve.
XT1DI7 | 05C0_B_47.6 | Digital IO | boolean | Reserve. | di | XT1DI7 | r | XT1DO6 | Reserve. | XT1AO6 | Reserve.
XT1DI8 | 05C0_B_47.7 | Digital IO | boolean | Reserve. | di | XT1DI8 | r | XT1DO7 | Reserve. | XT1AO7 | Reserve.
[7 empty] | r | XT1DO8 | Reserve. | XT1AO8 | Reserve.
XT2AI | 0610_N | Integral values | integer | Analog input, alle | ai | XT2AI | r
XT2AI1 | 0610_N_2D | Analog values | float | Reserve. | ai | XT2AI1 | r
XT2AI2 | 0610_N_2E | Analog values | float | Reserve. | ai | XT2AI2 | r
XT2AI3 | 0610_N_2F | Analog values | float | Reserve. | ai | XT2AI3 | r
XT2AI4 | 0610_N_30 | Analog values | float | Reserve. | ai | XT2AI4 | r
XT2AI5 | 0610_N_31 | Analog values | float | Reserve. | ai | XT2AI5 | r
XT2AI6 | 0610_N_32 | Analog values | float | Reserve. | ai | XT2AI6 | r
XT2AO | 0610_N | Integral values | integer | Analog output, alle | ao | XT2AO | r
XT2AO7 | 0610_N_3B | Analog values | float | Reserve. | ao | XT2AO7 | r
XT2AO8 | 0610_N_3C | Analog values | float | Reserve. | ao | XT2AO8 | r
XT2AO | 0610_N_ | Integral values | integer | Analog output, alle | ao | XT2AO | r
XT2AO1 | 0610_N_35 | Analog values | float | Reserve. | ao | XT2AO1 | r
XT2AO2 | 0610_N_36 | Analog values | float | Reserve. | ao | XT2AO2 | r
XT2AO3 | 0610_N_37 | Analog values | float | Reserve. | ao | XT2AO3 | r
XT2AO4 | 0610_N_38 | Analog values | float | Reserve. | ao | XT2AO4 | r
XT2AO5 | 0610_N_39 | Analog values | float | Reserve. | ao | XT2AO5 | r
XT2AO6 | 0610_N_3A | Analog values | float | Reserve. | ao | XT2AO6 | r
XT2AO7 | 0610_N_3B | Analog values | float | Reserve. | ao | XT2AO7 | r
XT2AO8 | 0610_N_3C | Analog values | float | Reserve. | ao | XT2AO8 | r
r
XT2DO | 0610_B_46 | Integral values | integer | Digital output, alle | do | XT2DO | r
XT2DO1 | 0610_B_46.0 | Digital IO | boolean | Reserve. | do | XT2DO1 | r
XT2DO2 | 0610_B_46.1 | Digital IO | boolean | Reserve. | do | XT2DO2 | r
XT2DO3 | 0610_B_46.2 | Digital IO | boolean | Reserve. | do | XT2DO3 | r
XT2DO4 | 0610_B_46.3 | Digital IO | boolean | Reserve. | do | XT2DO4 | r
XT2DO5 | 0610_B_46.4 | Digital IO | boolean | Reserve. | do | XT2DO5 | r
XT2DO6 | 0610_B_46.5 | Digital IO | boolean | Reserve. | do | XT2DO6 | r
XT2DO7 | 0610_B_46.6 | Digital IO | boolean | Reserve. | do | XT2DO7 | r
XT2DO8 | 0610_B_46.7 | Digital IO | boolean | Reserve. | do | XT2DO8 | r
r
XT2DIS | 0610_B_47 | Integral values | integer | Digital input, alle | di | XT2DIS | r | XT2DIS | Digital input, alle | XT2AI | Analog input, alle
XT2DI1 | 0610_B_47.0 | Digital IO | boolean | Reserve. | di | XT2DI1 | r | XT2DI1 | Reserve. | XT2AI1 | Reserve.
XT2DI2 | 0610_B_47.1 | Digital IO | boolean | Reserve. | di | XT2DI2 | r | XT2DI2 | Reserve. | XT2AI2 | Reserve.
XT2DI3 | 0610_B_47.2 | Digital IO | boolean | Reserve. | di | XT2DI3 | r | XT2DI3 | Reserve. | XT2AI3 | Reserve.
XT2DI4 | 0610_B_47.3 | Digital IO | boolean | Reserve. | di | XT2DI4 | r | XT2DI4 | Reserve. | XT2AI4 | Reserve.
XT2DI5 | 0610_B_47.4 | Digital IO | boolean | Reserve. | di | XT2DI5 | r | XT2DO | Digital output, alle | XT2AO | Analog output, alle
XT2DI6 | 0610_B_47.5 | Digital IO | boolean | Reserve. | di | XT2DI6 | r | XT2DO5 | Reserve. | XT2AO5 | Reserve.
XT2DI7 | 0610_B_47.6 | Digital IO | boolean | Reserve. | di | XT2DI7 | r | XT2DO6 | Reserve. | XT2AO6 | Reserve.
XT2DI8 | 0610_B_47.7 | Digital IO | boolean | Reserve. | di | XT2DI8 | r | XT2DO7 | Reserve. | XT2AO7 | Reserve.
[7 empty] | r | XT2DO8 | Reserve. | XT2AO8 | Reserve.
XT3AI | 0660_N | Integral values | integer | Analog input, alle | ai | XT3AI | r
XT3AI1 | 0660_N_2D | Analog values | float | Reserve. | ai | XT3AI1 | r
XT3AI2 | 0660_N_2E | Analog values | float | Reserve. | ai | XT3AI2 | r
XT3AI3 | 0660_N_2F | Analog values | float | Reserve. | ai | XT3AI3 | r
XT3AI4 | 0660_N_30 | Analog values | float | Reserve. | ai | XT3AI4 | r
XT3AI5 | 0660_N_31 | Analog values | float | Reserve. | ai | XT3AI5 | r
XT3AI6 | 0660_N_32 | Analog values | float | Reserve. | ai | XT3AI6 | r
XT3AO | 0660_N | Integral values | integer | Analog output, alle | ao | XT3AO | r
XT3AO7 | 0660_N_3B | Analog values | float | Reserve. | ao | XT3AO7 | r
XT3AO8 | 0660_N_3C | Analog values | float | Reserve. | ao | XT3AO8 | r
XT3AO | 0660_N_ | Integral values | integer | Analog output, alle | ao | XT3AO | r
XT3AO1 | 0660_N_35 | Analog values | float | Reserve. | ao | XT3AO1 | r
XT3AO2 | 0660_N_36 | Analog values | float | Reserve. | ao | XT3AO2 | r
XT3AO3 | 0660_N_37 | Analog values | float | Reserve. | ao | XT3AO3 | r
XT3AO4 | 0660_N_38 | Analog values | float | Reserve. | ao | XT3AO4 | r
XT3AO5 | 0660_N_39 | Analog values | float | Reserve. | ao | XT3AO5 | r
XT3AO6 | 0660_N_3A | Analog values | float | Reserve. | ao | XT3AO6 | r
XT3AO7 | 0660_N_3B | Analog values | float | Reserve. | ao | XT3AO7 | r
XT3AO8 | 0660_N_3C | Analog values | float | Reserve. | ao | XT3AO8 | r
XT3DO | 0660_B_46 | Integral values | integer | Digital output, alle | do | XT3DO | r
XT3DO1 | 0660_B_46.0 | Digital IO | boolean | Reserve. | do | XT3DO1 | r
XT3DO2 | 0660_B_46.1 | Digital IO | boolean | Reserve. | do | XT3DO2 | r
XT3DO3 | 0660_B_46.2 | Digital IO | boolean | Reserve. | do | XT3DO3 | r
XT3DO4 | 0660_B_46.3 | Digital IO | boolean | Reserve. | do | XT3DO4 | r
XT3DO5 | 0660_B_46.4 | Digital IO | boolean | Reserve. | do | XT3DO5 | r
XT3DO6 | 0660_B_46.5 | Digital IO | boolean | Reserve. | do | XT3DO6 | r
XT3DO7 | 0660_B_46.6 | Digital IO | boolean | Reserve. | do | XT3DO7 | r
XT3DO8 | 0660_B_46.7 | Digital IO | boolean | Reserve. | do | XT3DO8 | r
r
XT3DIS | 0660_B_47 | Integral values | integer | Digital input, alle | di | XT3DIS | r | XT3DIS | Digital input, alle | XT3AI | Analog input, alle
XT3DI1 | 0660_B_47.0 | Digital IO | boolean | Reserve. | di | XT3DI1 | r | XT3DI1 | Reserve. | XT3AI1 | Reserve.
XT3DI2 | 0660_B_47.1 | Digital IO | boolean | Reserve. | di | XT3DI2 | r | XT3DI2 | Reserve. | XT3AI2 | Reserve.
XT3DI3 | 0660_B_47.2 | Digital IO | boolean | Reserve. | di | XT3DI3 | r | XT3DI3 | Reserve. | XT3AI3 | Reserve.
XT3DI4 | 0660_B_47.3 | Digital IO | boolean | Reserve. | di | XT3DI4 | r | XT3DI4 | Reserve. | XT3AI4 | Reserve.
XT3DI5 | 0660_B_47.4 | Digital IO | boolean | Reserve. | di | XT3DI5 | r | XT3DO | Digital output, alle | XT3AO | Analog output, alle
XT3DI6 | 0660_B_47.5 | Digital IO | boolean | Reserve. | di | XT3DI6 | r | XT3DO5 | Reserve. | XT3AO5 | Reserve.
XT3DI7 | 0660_B_47.6 | Digital IO | boolean | Reserve. | di | XT3DI7 | r | XT3DO6 | Reserve. | XT3AO6 | Reserve.
XT3DI8 | 0660_B_47.7 | Digital IO | boolean | Reserve. | di | XT3DI8 | r | XT3DO7 | Reserve. | XT3AO7 | Reserve.
[7 empty] | r | XT3DO8 | Reserve. | XT3AO8 | Reserve.
XT4AI | 06B0_N | Integral values | integer | Analog input, alle | ai | XT4AI | r
XT4AI1 | 06B0_N_2D | Analog values | float | Reserve. | ai | XT4AI1 | r
XT4AI2 | 06B0_N_2E | Analog values | float | Reserve. | ai | XT4AI2 | r
XT4AI3 | 06B0_N_2F | Analog values | float | Reserve. | ai | XT4AI3 | r
XT4AI4 | 06B0_N_30 | Analog values | float | Reserve. | ai | XT4AI4 | r
XT4AI5 | 06B0_N_31 | Analog values | float | Reserve. | ai | XT4AI5 | r
XT4AI6 | 06B0_N_32 | Analog values | float | Reserve. | ai | XT4AI6 | r
XT4AO | 06B0_N | Integral values | integer | Analog output, alle | ao | XT4AO | r
XT4AO7 | 06B0_N_3B | Analog values | float | Reserve. | ao | XT4AO7 | r
XT4AO8 | 06B0_N_3C | Analog values | float | Reserve. | ao | XT4AO8 | r
XT4AO | 06B0_N_ | Integral values | integer | Analog output, alle | ao | XT4AO | r
XT4AO1 | 06B0_N_35 | Analog values | float | Reserve. | ao | XT4AO1 | r
XT4AO2 | 06B0_N_36 | Analog values | float | Reserve. | ao | XT4AO2 | r
XT4AO3 | 06B0_N_37 | Analog values | float | Reserve. | ao | XT4AO3 | r
XT4AO4 | 06B0_N_38 | Analog values | float | Reserve. | ao | XT4AO4 | r
XT4AO5 | 06B0_N_39 | Analog values | float | Reserve. | ao | XT4AO5 | r
XT4AO6 | 06B0_N_3A | Analog values | float | Reserve. | ao | XT4AO6 | r
XT4AO7 | 06B0_N_3B | Analog values | float | Reserve. | ao | XT4AO7 | r
XT4AO8 | 06B0_N_3C | Analog values | float | Reserve. | ao | XT4AO8 | r
XT4DO | 06B0_B_46 | Integral values | integer | Digital output, alle | do | XT4DO | r
XT4DO1 | 06B0_B_46.0 | Digital IO | boolean | Reserve. | do | XT4DO1 | r
XT4DO2 | 06B0_B_46.1 | Digital IO | boolean | Reserve. | do | XT4DO2 | r
XT4DO3 | 06B0_B_46.2 | Digital IO | boolean | Reserve. | do | XT4DO3 | r
XT4DO4 | 06B0_B_46.3 | Digital IO | boolean | Reserve. | do | XT4DO4 | r
XT4DO5 | 06B0_B_46.4 | Digital IO | boolean | Reserve. | do | XT4DO5 | r
XT4DO6 | 06B0_B_46.5 | Digital IO | boolean | Reserve. | do | XT4DO6 | r
XT4DO7 | 06B0_B_46.6 | Digital IO | boolean | Reserve. | do | XT4DO7 | r
XT4DO8 | 06B0_B_46.7 | Digital IO | boolean | Reserve. | do | XT4DO8 | r
r
XT4DIS | 06B0_B_47 | Integral values | integer | Digital input, alle | di | XT4DIS | r | XT4DIS | Digital input, alle | XT4AI | Analog input, alle
XT4DI1 | 06B0_B_47.0 | Digital IO | boolean | Reserve. | di | XT4DI1 | r | XT4DI1 | Reserve. | XT4AI1 | Reserve.
XT4DI2 | 06B0_B_47.1 | Digital IO | boolean | Reserve. | di | XT4DI2 | r | XT4DI2 | Reserve. | XT4AI2 | Reserve.
XT4DI3 | 06B0_B_47.2 | Digital IO | boolean | Reserve. | di | XT4DI3 | r | XT4DI3 | Reserve. | XT4AI3 | Reserve.
XT4DI4 | 06B0_B_47.3 | Digital IO | boolean | Reserve. | di | XT4DI4 | r | XT4DI4 | Reserve. | XT4AI4 | Reserve.
XT4DI5 | 06B0_B_47.4 | Digital IO | boolean | Reserve. | di | XT4DI5 | r | XT4DO | Digital output, alle | XT4AO | Analog output, alle
XT4DI6 | 06B0_B_47.5 | Digital IO | boolean | Reserve. | di | XT4DI6 | r | XT4DO5 | Reserve. | XT4AO5 | Reserve.
XT4DI7 | 06B0_B_47.6 | Digital IO | boolean | Reserve. | di | XT4DI7 | r | XT4DO6 | Reserve. | XT4AO6 | Reserve.
XT4DI8 | 06B0_B_47.7 | Digital IO | boolean | Reserve. | di | XT4DI8 | r | XT4DO7 | Reserve. | XT4AO7 | Reserve.
[7 empty] | r | XT4DO8 | Reserve. | XT4AO8 | Reserve.
XT5AI | 0700_N | Integral values | integer | Analog input, alle | ai | XT5AI | r
XT5AI1 | 0700_N_2D | Analog values | float | Reserve. | ai | XT5AI1 | r
XT5AI2 | 0700_N_2E | Analog values | float | Reserve. | ai | XT5AI2 | r
XT5AI3 | 0700_N_2F | Analog values | float | Reserve. | ai | XT5AI3 | r
XT5AI4 | 0700_N_30 | Analog values | float | Reserve. | ai | XT5AI4 | r
XT5AI5 | 0700_N_31 | Analog values | float | Reserve. | ai | XT5AI5 | r
XT5AI6 | 0700_N_32 | Analog values | float | Reserve. | ai | XT5AI6 | r
XT5AO | 0700_N | Integral values | integer | Analog output, alle | ao | XT5AO | r
XT5AO7 | 0700_N_3B | Analog values | float | Reserve. | ao | XT5AO7 | r
XT5AO8 | 0700_N_3C | Analog values | float | Reserve. | ao | XT5AO8 | r
XT5AO | 0700_N_ | Integral values | integer | Analog output, alle | ao | XT5AO | r
XT5AO1 | 0700_N_35 | Analog values | float | Reserve. | ao | XT5AO1 | r
XT5AO2 | 0700_N_36 | Analog values | float | Reserve. | ao | XT5AO2 | r
XT5AO3 | 0700_N_37 | Analog values | float | Reserve. | ao | XT5AO3 | r
XT5AO4 | 0700_N_38 | Analog values | float | Reserve. | ao | XT5AO4 | r
XT5AO5 | 0700_N_39 | Analog values | float | Reserve. | ao | XT5AO5 | r
XT5AO6 | 0700_N_3A | Analog values | float | Reserve. | ao | XT5AO6 | r
XT5AO7 | 0700_N_3B | Analog values | float | Reserve. | ao | XT5AO7 | r
XT5AO8 | 0700_N_3C | Analog values | float | Reserve. | ao | XT5AO8 | r
r
XT5DO | 0700_B_46 | Integral values | integer | Digital output, alle | do | XT5DO | r
XT5DO1 | 0700_B_46.0 | Digital IO | boolean | Reserve. | do | XT5DO1 | r
XT5DO2 | 0700_B_46.1 | Digital IO | boolean | Reserve. | do | XT5DO2 | r
XT5DO3 | 0700_B_46.2 | Digital IO | boolean | Reserve. | do | XT5DO3 | r
XT5DO4 | 0700_B_46.3 | Digital IO | boolean | Reserve. | do | XT5DO4 | r
XT5DO5 | 0700_B_46.4 | Digital IO | boolean | Reserve. | do | XT5DO5 | r
XT5DO6 | 0700_B_46.5 | Digital IO | boolean | Reserve. | do | XT5DO6 | r
XT5DO7 | 0700_B_46.6 | Digital IO | boolean | Reserve. | do | XT5DO7 | r
XT5DO8 | 0700_B_46.7 | Digital IO | boolean | Reserve. | do | XT5DO8 | r
r
XT5DIS | 0700_B_47 | Integral values | integer | Digital input, alle | di | XT5DIS | r | XT5DIS | Digital input, alle | XT5AI | Analog input, alle
XT5DI1 | 0700_B_47.0 | Digital IO | boolean | Reserve. | di | XT5DI1 | r | XT5DI1 | Reserve. | XT5AI1 | Reserve.
XT5DI2 | 0700_B_47.1 | Digital IO | boolean | Reserve. | di | XT5DI2 | r | XT5DI2 | Reserve. | XT5AI2 | Reserve.
XT5DI3 | 0700_B_47.2 | Digital IO | boolean | Reserve. | di | XT5DI3 | r | XT5DI3 | Reserve. | XT5AI3 | Reserve.
XT5DI4 | 0700_B_47.3 | Digital IO | boolean | Reserve. | di | XT5DI4 | r | XT5DI4 | Reserve. | XT5AI4 | Reserve.
XT5DI5 | 0700_B_47.4 | Digital IO | boolean | Reserve. | di | XT5DI5 | r | XT5DO | Digital output, alle | XT5AO | Analog output, alle
XT5DI6 | 0700_B_47.5 | Digital IO | boolean | Reserve. | di | XT5DI6 | r | XT5DO5 | Reserve. | XT5AO5 | Reserve.
XT5DI7 | 0700_B_47.6 | Digital IO | boolean | Reserve. | di | XT5DI7 | r | XT5DO6 | Reserve. | XT5AO6 | Reserve.
XT5DI8 | 0700_B_47.7 | Digital IO | boolean | Reserve. | di | XT5DI8 | r | XT5DO7 | Reserve. | XT5AO7 | Reserve.
[7 empty] | r | XT5DO8 | Reserve. | XT5AO8 | Reserve.
XT6AI | 0750_N | Integral values | integer | Analog input, alle | ai | XT6AI | r
XT6AI1 | 0750_N_2D | Analog values | float | Reserve. | ai | XT6AI1 | r
XT6AI2 | 0750_N_2E | Analog values | float | Reserve. | ai | XT6AI2 | r
XT6AI3 | 0750_N_2F | Analog values | float | Reserve. | ai | XT6AI3 | r
XT6AI4 | 0750_N_30 | Analog values | float | Reserve. | ai | XT6AI4 | r
XT6AI5 | 0750_N_31 | Analog values | float | Reserve. | ai | XT6AI5 | r
XT6AI6 | 0750_N_32 | Analog values | float | Reserve. | ai | XT6AI6 | r
XT6AO | 0750_N | Integral values | integer | Analog output, alle | ao | XT6AO | r
XT6AO7 | 0750_N_3B | Analog values | float | Reserve. | ao | XT6AO7 | r
XT6AO8 | 0750_N_3C | Analog values | float | Reserve. | ao | XT6AO8 | r
XT6AO | 0750_N_ | Integral values | integer | Analog output, alle | ao | XT6AO | r
XT6AO1 | 0750_N_35 | Analog values | float | Reserve. | ao | XT6AO1 | r
XT6AO2 | 0750_N_36 | Analog values | float | Reserve. | ao | XT6AO2 | r
XT6AO3 | 0750_N_37 | Analog values | float | Reserve. | ao | XT6AO3 | r
XT6AO4 | 0750_N_38 | Analog values | float | Reserve. | ao | XT6AO4 | r
XT6AO5 | 0750_N_39 | Analog values | float | Reserve. | ao | XT6AO5 | r
XT6AO6 | 0750_N_3A | Analog values | float | Reserve. | ao | XT6AO6 | r
XT6AO7 | 0750_N_3B | Analog values | float | Reserve. | ao | XT6AO7 | r
XT6AO8 | 0750_N_3C | Analog values | float | Reserve. | ao | XT6AO8 | r
XT6DO | 0750_B_46 | Integral values | integer | Digital output, alle | do | XT6DO | r
XT6DO1 | 0750_B_46.0 | Digital IO | boolean | Reserve. | do | XT6DO1 | r
XT6DO2 | 0750_B_46.1 | Digital IO | boolean | Reserve. | do | XT6DO2 | r
XT6DO3 | 0750_B_46.2 | Digital IO | boolean | Reserve. | do | XT6DO3 | r
XT6DO4 | 0750_B_46.3 | Digital IO | boolean | Reserve. | do | XT6DO4 | r
XT6DO5 | 0750_B_46.4 | Digital IO | boolean | Reserve. | do | XT6DO5 | r
XT6DO6 | 0750_B_46.5 | Digital IO | boolean | Reserve. | do | XT6DO6 | r
XT6DO7 | 0750_B_46.6 | Digital IO | boolean | Reserve. | do | XT6DO7 | r
XT6DO8 | 0750_B_46.7 | Digital IO | boolean | Reserve. | do | XT6DO8 | r
r
XT6DIS | 0750_B_47 | Integral values | integer | Digital input, alle | di | XT6DIS | r | XT6DIS | Digital input, alle | XT6AI | Analog input, alle
XT6DI1 | 0750_B_47.0 | Digital IO | boolean | Reserve. | di | XT6DI1 | r | XT6DI1 | Reserve. | XT6AI1 | Reserve.
XT6DI2 | 0750_B_47.1 | Digital IO | boolean | Reserve. | di | XT6DI2 | r | XT6DI2 | Reserve. | XT6AI2 | Reserve.
XT6DI3 | 0750_B_47.2 | Digital IO | boolean | Reserve. | di | XT6DI3 | r | XT6DI3 | Reserve. | XT6AI3 | Reserve.
XT6DI4 | 0750_B_47.3 | Digital IO | boolean | Reserve. | di | XT6DI4 | r | XT6DI4 | Reserve. | XT6AI4 | Reserve.
XT6DI5 | 0750_B_47.4 | Digital IO | boolean | Reserve. | di | XT6DI5 | r | XT6DO | Digital output, alle | XT6AO | Analog output, alle
XT6DI6 | 0750_B_47.5 | Digital IO | boolean | Reserve. | di | XT6DI6 | r | XT6DO5 | Reserve. | XT6AO5 | Reserve.
XT6DI7 | 0750_B_47.6 | Digital IO | boolean | Reserve. | di | XT6DI7 | r | XT6DO6 | Reserve. | XT6AO6 | Reserve.
XT6DI8 | 0750_B_47.7 | Digital IO | boolean | Reserve. | di | XT6DI8 | r | XT6DO7 | Reserve. | XT6AO7 | Reserve.
[7 empty] | r | XT6DO8 | Reserve. | XT6AO8 | Reserve.
XT7AI | 07A0_N | Integral values | integer | Analog input, alle | ai | XT7AI | r
XT7AI1 | 07A0_N_2D | Analog values | float | Reserve. | ai | XT7AI1 | r
XT7AI2 | 07A0_N_2E | Analog values | float | Reserve. | ai | XT7AI2 | r
XT7AI3 | 07A0_N_2F | Analog values | float | Reserve. | ai | XT7AI3 | r
XT7AI4 | 07A0_N_30 | Analog values | float | Reserve. | ai | XT7AI4 | r
XT7AI5 | 07A0_N_31 | Analog values | float | Reserve. | ai | XT7AI5 | r
XT7AI6 | 07A0_N_32 | Analog values | float | Reserve. | ai | XT7AI6 | r
XT7AO | 07A0_N | Integral values | integer | Analog output, alle | ao | XT7AO | r
XT7AO7 | 07A0_N_3B | Analog values | float | Reserve. | ao | XT7AO7 | r
XT7AO8 | 07A0_N_3C | Analog values | float | Reserve. | ao | XT7AO8 | r
XT7AO | 07A0_N_ | Integral values | integer | Analog output, alle | ao | XT7AO | r
XT7AO1 | 07A0_N_35 | Analog values | float | Reserve. | ao | XT7AO1 | r
XT7AO2 | 07A0_N_36 | Analog values | float | Reserve. | ao | XT7AO2 | r
XT7AO3 | 07A0_N_37 | Analog values | float | Reserve. | ao | XT7AO3 | r
XT7AO4 | 07A0_N_38 | Analog values | float | Reserve. | ao | XT7AO4 | r
XT7AO5 | 07A0_N_39 | Analog values | float | Reserve. | ao | XT7AO5 | r
XT7AO6 | 07A0_N_3A | Analog values | float | Reserve. | ao | XT7AO6 | r
XT7AO7 | 07A0_N_3B | Analog values | float | Reserve. | ao | XT7AO7 | r
XT7AO8 | 07A0_N_3C | Analog values | float | Reserve. | ao | XT7AO8 | r
XT7DO | 07A0_B_46 | Integral values | integer | Digital output, alle | do | XT7DO | r
XT7DO1 | 07A0_B_46.0 | Digital IO | boolean | Reserve. | do | XT7DO1 | r
XT7DO2 | 07A0_B_46.1 | Digital IO | boolean | Reserve. | do | XT7DO2 | r
XT7DO3 | 07A0_B_46.2 | Digital IO | boolean | Reserve. | do | XT7DO3 | r
XT7DO4 | 07A0_B_46.3 | Digital IO | boolean | Reserve. | do | XT7DO4 | r
XT7DO5 | 07A0_B_46.4 | Digital IO | boolean | Reserve. | do | XT7DO5 | r
XT7DO6 | 07A0_B_46.5 | Digital IO | boolean | Reserve. | do | XT7DO6 | r
XT7DO7 | 07A0_B_46.6 | Digital IO | boolean | Reserve. | do | XT7DO7 | r
XT7DO8 | 07A0_B_46.7 | Digital IO | boolean | Reserve. | do | XT7DO8 | r
r
XT7DIS | 07A0_B_47 | Integral values | integer | Digital input, alle | di | XT7DIS | r | XT7DIS | Digital input, alle | XT7AI | Analog input, alle
XT7DI1 | 07A0_B_47.0 | Digital IO | boolean | Reserve. | di | XT7DI1 | r | XT7DI1 | Reserve. | XT7AI1 | Reserve.
XT7DI2 | 07A0_B_47.1 | Digital IO | boolean | Reserve. | di | XT7DI2 | r | XT7DI2 | Reserve. | XT7AI2 | Reserve.
XT7DI3 | 07A0_B_47.2 | Digital IO | boolean | Reserve. | di | XT7DI3 | r | XT7DI3 | Reserve. | XT7AI3 | Reserve.
XT7DI4 | 07A0_B_47.3 | Digital IO | boolean | Reserve. | di | XT7DI4 | r | XT7DI4 | Reserve. | XT7AI4 | Reserve.
XT7DI5 | 07A0_B_47.4 | Digital IO | boolean | Reserve. | di | XT7DI5 | r | XT7DO | Digital output, alle | XT7AO | Analog output, alle
XT7DI6 | 07A0_B_47.5 | Digital IO | boolean | Reserve. | di | XT7DI6 | r | XT7DO5 | Reserve. | XT7AO5 | Reserve.
XT7DI7 | 07A0_B_47.6 | Digital IO | boolean | Reserve. | di | XT7DI7 | r | XT7DO6 | Reserve. | XT7AO6 | Reserve.
XT7DI8 | 07A0_B_47.7 | Digital IO | boolean | Reserve. | di | XT7DI8 | r | XT7DO7 | Reserve. | XT7AO7 | Reserve.
[7 empty] | r | XT7DO8 | Reserve. | XT7AO8 | Reserve.
XT8AI | 07F0_N | Integral values | integer | Analog input, alle | ai | XT8AI | r
XT8AI1 | 07F0_N_2D | Analog values | float | Reserve. | ai | XT8AI1 | r
XT8AI2 | 07F0_N_2E | Analog values | float | Reserve. | ai | XT8AI2 | r
XT8AI3 | 07F0_N_2F | Analog values | float | Reserve. | ai | XT8AI3 | r
XT8AI4 | 07F0_N_30 | Analog values | float | Reserve. | ai | XT8AI4 | r
XT8AI5 | 07F0_N_31 | Analog values | float | Reserve. | ai | XT8AI5 | r
XT8AI6 | 07F0_N_32 | Analog values | float | Reserve. | ai | XT8AI6 | r
XT8AO | 07F0_N | Integral values | integer | Analog output, alle | ao | XT8AO | r
XT8AO7 | 07F0_N_3B | Analog values | float | Reserve. | ao | XT8AO7 | r
XT8AO8 | 07F0_N_3C | Analog values | float | Reserve. | ao | XT8AO8 | r
XT8AO | 07F0_N_ | Integral values | integer | Analog output, alle | ao | XT8AO | r
XT8AO1 | 07F0_N_35 | Analog values | float | Reserve. | ao | XT8AO1 | r
XT8AO2 | 07F0_N_36 | Analog values | float | Reserve. | ao | XT8AO2 | r
XT8AO3 | 07F0_N_37 | Analog values | float | Reserve. | ao | XT8AO3 | r
XT8AO4 | 07F0_N_38 | Analog values | float | Reserve. | ao | XT8AO4 | r
XT8AO5 | 07F0_N_39 | Analog values | float | Reserve. | ao | XT8AO5 | r
XT8AO6 | 07F0_N_3A | Analog values | float | Reserve. | ao | XT8AO6 | r
XT8AO7 | 07F0_N_3B | Analog values | float | Reserve. | ao | XT8AO7 | r
XT8AO8 | 07F0_N_3C | Analog values | float | Reserve. | ao | XT8AO8 | r
XT8DO | 07F0_B_46 | Integral values | integer | Digital output, alle | do | XT8DO | r
XT8DO1 | 07F0_B_46.0 | Digital IO | boolean | Reserve. | do | XT8DO1 | r
XT8DO2 | 07F0_B_46.1 | Digital IO | boolean | Reserve. | do | XT8DO2 | r
XT8DO3 | 07F0_B_46.2 | Digital IO | boolean | Reserve. | do | XT8DO3 | r
XT8DO4 | 07F0_B_46.3 | Digital IO | boolean | Reserve. | do | XT8DO4 | r
XT8DO5 | 07F0_B_46.4 | Digital IO | boolean | Reserve. | do | XT8DO5 | r
XT8DO6 | 07F0_B_46.5 | Digital IO | boolean | Reserve. | do | XT8DO6 | r
XT8DO7 | 07F0_B_46.6 | Digital IO | boolean | Reserve. | do | XT8DO7 | r
XT8DO8 | 07F0_B_46.7 | Digital IO | boolean | Reserve. | do | XT8DO8 | r
r
XT8DIS | 07F0_B_47 | Integral values | integer | Digital input, alle | di | XT8DIS | r | XT8DIS | Digital input, alle | XT8AI | Analog input, alle
XT8DI1 | 07F0_B_47.0 | Digital IO | boolean | Reserve. | di | XT8DI1 | r | XT8DI1 | Reserve. | XT8AI1 | Reserve.
XT8DI2 | 07F0_B_47.1 | Digital IO | boolean | Reserve. | di | XT8DI2 | r | XT8DI2 | Reserve. | XT8AI2 | Reserve.
XT8DI3 | 07F0_B_47.2 | Digital IO | boolean | Reserve. | di | XT8DI3 | r | XT8DI3 | Reserve. | XT8AI3 | Reserve.
XT8DI4 | 07F0_B_47.3 | Digital IO | boolean | Reserve. | di | XT8DI4 | r | XT8DI4 | Reserve. | XT8AI4 | Reserve.
XT8DI5 | 07F0_B_47.4 | Digital IO | boolean | Reserve. | di | XT8DI5 | r | XT8DO | Digital output, alle | XT8AO | Analog output, alle
XT8DI6 | 07F0_B_47.5 | Digital IO | boolean | Reserve. | di | XT8DI6 | r | XT8DO5 | Reserve. | XT8AO5 | Reserve.
XT8DI7 | 07F0_B_47.6 | Digital IO | boolean | Reserve. | di | XT8DI7 | r | XT8DO6 | Reserve. | XT8AO6 | Reserve.
XT8DI8 | 07F0_B_47.7 | Digital IO | boolean | Reserve. | di | XT8DI8 | r | XT8DO7 | Reserve. | XT8AO7 | Reserve.
[8 empty] | XT8DO8 | Reserve. | XT8AO8 | Reserve.
PM01K01 | 0040_N_1A | Analog values | float | Reserve. | setp | PM01K01 | rw
PM01K02 | 0040_N_1B | Analog values | float | Reserve. | setp | PM01K02 | rw
PM01K03 | 0040_N_1C | Analog values | float | Reserve. | setp | PM01K03 | rw
PM01K04 | 0040_N_1D | Analog values | float | Reserve. | setp | PM01K04 | rw
PM01K05 | 0040_N_1E | Analog values | float | Reserve. | setp | PM01K05 | rw
PM01K06 | 0040_N_1F | Analog values | float | Reserve. | setp | PM01K06 | rw
PM01K07 | 0040_N_20 | Analog values | float | Reserve. | setp | PM01K07 | rw
PM01K08 | 0040_N_21 | Analog values | float | Reserve. | setp | PM01K08 | rw
PM01K09 | 0040_N_22 | Analog values | float | Reserve. | setp | PM01K09 | rw
PM01K10 | 0040_N_23 | Analog values | float | Reserve. | setp | PM01K10 | rw
PM01K11 | 0040_N_24 | Analog values | float | Reserve. | setp | PM01K11 | rw
PM01K12 | 0040_N_25 | Analog values | float | Reserve. | setp | PM01K12 | rw
PM01K13 | 0040_N_26 | Analog values | float | Reserve. | setp | PM01K13 | rw
PM01K14 | 0040_N_27 | Analog values | float | Reserve. | setp | PM01K14 | rw
PM01K15 | 0040_N_28 | Analog values | float | Reserve. | setp | PM01K15 | rw
PM01K16 | 0040_N_29 | Analog values | float | Reserve. | setp | PM01K16 | rw
PM01K17 | 0040_N_2A | Analog values | float | Reserve. | setp | PM01K17 | rw
PM01K18 | 0040_N_2B | Analog values | float | Reserve. | setp | PM01K18 | rw
PM01K19 | 0040_N_2C | Analog values | float | Reserve. | setp | PM01K19 | rw
PM01K20 | 0040_N_2D | Analog values | float | Reserve. | setp | PM01K20 | rw
PM02K01 | 00A0_N_1A | Analog values | float | Reserve. | setp | PM02K01 | rw
PM02K02 | 00A0_N_1B | Analog values | float | Reserve. | setp | PM02K02 | rw
PM02K03 | 00A0_N_1C | Analog values | float | Reserve. | setp | PM02K03 | rw
PM02K04 | 00A0_N_1D | Analog values | float | Reserve. | setp | PM02K04 | rw
PM02K05 | 00A0_N_1E | Analog values | float | Reserve. | setp | PM02K05 | rw
PM02K06 | 00A0_N_1F | Analog values | float | Reserve. | setp | PM02K06 | rw
PM02K07 | 00A0_N_20 | Analog values | float | Reserve. | setp | PM02K07 | rw
PM02K08 | 00A0_N_21 | Analog values | float | Reserve. | setp | PM02K08 | rw
PM02K09 | 00A0_N_22 | Analog values | float | Reserve. | setp | PM02K09 | rw
PM02K10 | 00A0_N_23 | Analog values | float | Reserve. | setp | PM02K10 | rw
PM02K11 | 00A0_N_24 | Analog values | float | Reserve. | setp | PM02K11 | rw
PM02K12 | 00A0_N_25 | Analog values | float | Reserve. | setp | PM02K12 | rw
PM02K13 | 00A0_N_26 | Analog values | float | Reserve. | setp | PM02K13 | rw
PM02K14 | 00A0_N_27 | Analog values | float | Reserve. | setp | PM02K14 | rw
PM02K15 | 00A0_N_28 | Analog values | float | Reserve. | setp | PM02K15 | rw
PM02K16 | 00A0_N_29 | Analog values | float | Reserve. | setp | PM02K16 | rw
PM02K17 | 00A0_N_2A | Analog values | float | Reserve. | setp | PM02K17 | rw
PM02K18 | 00A0_N_2B | Analog values | float | Reserve. | setp | PM02K18 | rw
PM02K19 | 00A0_N_2C | Analog values | float | Reserve. | setp | PM02K19 | rw
PM02K20 | 00A0_N_2D | Analog values | float | Reserve. | setp | PM02K20 | rw
PM03K01 | 0100_N_1A | Analog values | float | Reserve. | setp | PM03K01 | rw
PM03K02 | 0100_N_1B | Analog values | float | Reserve. | setp | PM03K02 | rw
PM03K03 | 0100_N_1C | Analog values | float | Reserve. | setp | PM03K03 | rw
PM03K04 | 0100_N_1D | Analog values | float | Reserve. | setp | PM03K04 | rw
PM03K05 | 0100_N_1E | Analog values | float | Reserve. | setp | PM03K05 | rw
PM03K06 | 0100_N_1F | Analog values | float | Reserve. | setp | PM03K06 | rw
PM03K07 | 0100_N_20 | Analog values | float | Reserve. | setp | PM03K07 | rw
PM03K08 | 0100_N_21 | Analog values | float | Reserve. | setp | PM03K08 | rw
PM03K09 | 0100_N_22 | Analog values | float | Reserve. | setp | PM03K09 | rw
PM03K10 | 0100_N_23 | Analog values | float | Reserve. | setp | PM03K10 | rw
PM03K11 | 0100_N_24 | Analog values | float | Reserve. | setp | PM03K11 | rw
PM03K12 | 0100_N_25 | Analog values | float | Reserve. | setp | PM03K12 | rw
PM03K13 | 0100_N_26 | Analog values | float | Reserve. | setp | PM03K13 | rw
PM03K14 | 0100_N_27 | Analog values | float | Reserve. | setp | PM03K14 | rw
PM03K15 | 0100_N_28 | Analog values | float | Reserve. | setp | PM03K15 | rw
PM03K16 | 0100_N_29 | Analog values | float | Reserve. | setp | PM03K16 | rw
PM03K17 | 0100_N_2A | Analog values | float | Reserve. | setp | PM03K17 | rw
PM03K18 | 0100_N_2B | Analog values | float | Reserve. | setp | PM03K18 | rw
PM03K19 | 0100_N_2C | Analog values | float | Reserve. | setp | PM03K19 | rw
PM03K20 | 0100_N_2D | Analog values | float | Reserve. | setp | PM03K20 | rw
PM04K01 | 0160_N_1A | Analog values | float | Reserve. | setp | PM04K01 | rw
PM04K02 | 0160_N_1B | Analog values | float | Reserve. | setp | PM04K02 | rw
PM04K03 | 0160_N_1C | Analog values | float | Reserve. | setp | PM04K03 | rw
PM04K04 | 0160_N_1D | Analog values | float | Reserve. | setp | PM04K04 | rw
PM04K05 | 0160_N_1E | Analog values | float | Reserve. | setp | PM04K05 | rw
PM04K06 | 0160_N_1F | Analog values | float | Reserve. | setp | PM04K06 | rw
PM04K07 | 0160_N_20 | Analog values | float | Reserve. | setp | PM04K07 | rw
PM04K08 | 0160_N_21 | Analog values | float | Reserve. | setp | PM04K08 | rw
PM04K09 | 0160_N_22 | Analog values | float | Reserve. | setp | PM04K09 | rw
PM04K10 | 0160_N_23 | Analog values | float | Reserve. | setp | PM04K10 | rw
PM04K11 | 0160_N_24 | Analog values | float | Reserve. | setp | PM04K11 | rw
PM04K12 | 0160_N_25 | Analog values | float | Reserve. | setp | PM04K12 | rw
PM04K13 | 0160_N_26 | Analog values | float | Reserve. | setp | PM04K13 | rw
PM04K14 | 0160_N_27 | Analog values | float | Reserve. | setp | PM04K14 | rw
PM04K15 | 0160_N_28 | Analog values | float | Reserve. | setp | PM04K15 | rw
PM04K16 | 0160_N_29 | Analog values | float | Reserve. | setp | PM04K16 | rw
PM04K17 | 0160_N_2A | Analog values | float | Reserve. | setp | PM04K17 | rw
PM04K18 | 0160_N_2B | Analog values | float | Reserve. | setp | PM04K18 | rw
PM04K19 | 0160_N_2C | Analog values | float | Reserve. | setp | PM04K19 | rw
PM04K20 | 0160_N_2D | Analog values | float | Reserve. | setp | PM04K20 | rw
PM05K01 | 01C0_N_1A | Analog values | float | Reserve. | setp | PM05K01 | rw
PM05K02 | 01C0_N_1B | Analog values | float | Reserve. | setp | PM05K02 | rw
PM05K03 | 01C0_N_1C | Analog values | float | Reserve. | setp | PM05K03 | rw
PM05K04 | 01C0_N_1D | Analog values | float | Reserve. | setp | PM05K04 | rw
PM05K05 | 01C0_N_1E | Analog values | float | Reserve. | setp | PM05K05 | rw
PM05K06 | 01C0_N_1F | Analog values | float | Reserve. | setp | PM05K06 | rw
PM05K07 | 01C0_N_20 | Analog values | float | Reserve. | setp | PM05K07 | rw
PM05K08 | 01C0_N_21 | Analog values | float | Reserve. | setp | PM05K08 | rw
PM05K09 | 01C0_N_22 | Analog values | float | Reserve. | setp | PM05K09 | rw
PM05K10 | 01C0_N_23 | Analog values | float | Reserve. | setp | PM05K10 | rw
PM05K11 | 01C0_N_24 | Analog values | float | Reserve. | setp | PM05K11 | rw
PM05K12 | 01C0_N_25 | Analog values | float | Reserve. | setp | PM05K12 | rw
PM05K13 | 01C0_N_26 | Analog values | float | Reserve. | setp | PM05K13 | rw
PM05K14 | 01C0_N_27 | Analog values | float | Reserve. | setp | PM05K14 | rw
PM05K15 | 01C0_N_28 | Analog values | float | Reserve. | setp | PM05K15 | rw
PM05K16 | 01C0_N_29 | Analog values | float | Reserve. | setp | PM05K16 | rw
PM05K17 | 01C0_N_2A | Analog values | float | Reserve. | setp | PM05K17 | rw
PM05K18 | 01C0_N_2B | Analog values | float | Reserve. | setp | PM05K18 | rw
PM05K19 | 01C0_N_2C | Analog values | float | Reserve. | setp | PM05K19 | rw
PM05K20 | 01C0_N_2D | Analog values | float | Reserve. | setp | PM05K20 | rw
PM06K01 | 0220_N_1A | Analog values | float | Reserve. | setp | PM06K01 | rw
PM06K02 | 0220_N_1B | Analog values | float | Reserve. | setp | PM06K02 | rw
PM06K03 | 0220_N_1C | Analog values | float | Reserve. | setp | PM06K03 | rw
PM06K04 | 0220_N_1D | Analog values | float | Reserve. | setp | PM06K04 | rw
PM06K05 | 0220_N_1E | Analog values | float | Reserve. | setp | PM06K05 | rw
PM06K06 | 0220_N_1F | Analog values | float | Reserve. | setp | PM06K06 | rw
PM06K07 | 0220_N_20 | Analog values | float | Reserve. | setp | PM06K07 | rw
PM06K08 | 0220_N_21 | Analog values | float | Reserve. | setp | PM06K08 | rw
PM06K09 | 0220_N_22 | Analog values | float | Reserve. | setp | PM06K09 | rw
PM06K10 | 0220_N_23 | Analog values | float | Reserve. | setp | PM06K10 | rw
PM06K11 | 0220_N_24 | Analog values | float | Reserve. | setp | PM06K11 | rw
PM06K12 | 0220_N_25 | Analog values | float | Reserve. | setp | PM06K12 | rw
PM06K13 | 0220_N_26 | Analog values | float | Reserve. | setp | PM06K13 | rw
PM06K14 | 0220_N_27 | Analog values | float | Reserve. | setp | PM06K14 | rw
PM06K15 | 0220_N_28 | Analog values | float | Reserve. | setp | PM06K15 | rw
PM06K16 | 0220_N_29 | Analog values | float | Reserve. | setp | PM06K16 | rw
PM06K17 | 0220_N_2A | Analog values | float | Reserve. | setp | PM06K17 | rw
PM06K18 | 0220_N_2B | Analog values | float | Reserve. | setp | PM06K18 | rw
PM06K19 | 0220_N_2C | Analog values | float | Reserve. | setp | PM06K19 | rw
PM06K20 | 0220_N_2D | Analog values | float | Reserve. | setp | PM06K20 | rw
PM07K01 | 0280_N_1A | Analog values | float | Reserve. | setp | PM07K01 | rw
PM07K02 | 0280_N_1B | Analog values | float | Reserve. | setp | PM07K02 | rw
PM07K03 | 0280_N_1C | Analog values | float | Reserve. | setp | PM07K03 | rw
PM07K04 | 0280_N_1D | Analog values | float | Reserve. | setp | PM07K04 | rw
PM07K05 | 0280_N_1E | Analog values | float | Reserve. | setp | PM07K05 | rw
PM07K06 | 0280_N_1F | Analog values | float | Reserve. | setp | PM07K06 | rw
PM07K07 | 0280_N_20 | Analog values | float | Reserve. | setp | PM07K07 | rw
PM07K08 | 0280_N_21 | Analog values | float | Reserve. | setp | PM07K08 | rw
PM07K09 | 0280_N_22 | Analog values | float | Reserve. | setp | PM07K09 | rw
PM07K10 | 0280_N_23 | Analog values | float | Reserve. | setp | PM07K10 | rw
PM07K11 | 0280_N_24 | Analog values | float | Reserve. | setp | PM07K11 | rw
PM07K12 | 0280_N_25 | Analog values | float | Reserve. | setp | PM07K12 | rw
PM07K13 | 0280_N_26 | Analog values | float | Reserve. | setp | PM07K13 | rw
PM07K14 | 0280_N_27 | Analog values | float | Reserve. | setp | PM07K14 | rw
PM07K15 | 0280_N_28 | Analog values | float | Reserve. | setp | PM07K15 | rw
PM07K16 | 0280_N_29 | Analog values | float | Reserve. | setp | PM07K16 | rw
PM07K17 | 0280_N_2A | Analog values | float | Reserve. | setp | PM07K17 | rw
PM07K18 | 0280_N_2B | Analog values | float | Reserve. | setp | PM07K18 | rw
PM07K19 | 0280_N_2C | Analog values | float | Reserve. | setp | PM07K19 | rw
PM07K20 | 0280_N_2D | Analog values | float | Reserve. | setp | PM07K20 | rw
PM08K01 | 02E0_N_1A | Analog values | float | Reserve. | setp | PM08K01 | rw
PM08K02 | 02E0_N_1B | Analog values | float | Reserve. | setp | PM08K02 | rw
PM08K03 | 02E0_N_1C | Analog values | float | Reserve. | setp | PM08K03 | rw
PM08K04 | 02E0_N_1D | Analog values | float | Reserve. | setp | PM08K04 | rw
PM08K05 | 02E0_N_1E | Analog values | float | Reserve. | setp | PM08K05 | rw
PM08K06 | 02E0_N_1F | Analog values | float | Reserve. | setp | PM08K06 | rw
PM08K07 | 02E0_N_20 | Analog values | float | Reserve. | setp | PM08K07 | rw
PM08K08 | 02E0_N_21 | Analog values | float | Reserve. | setp | PM08K08 | rw
PM08K09 | 02E0_N_22 | Analog values | float | Reserve. | setp | PM08K09 | rw
PM08K10 | 02E0_N_23 | Analog values | float | Reserve. | setp | PM08K10 | rw
PM08K11 | 02E0_N_24 | Analog values | float | Reserve. | setp | PM08K11 | rw
PM08K12 | 02E0_N_25 | Analog values | float | Reserve. | setp | PM08K12 | rw
PM08K13 | 02E0_N_26 | Analog values | float | Reserve. | setp | PM08K13 | rw
PM08K14 | 02E0_N_27 | Analog values | float | Reserve. | setp | PM08K14 | rw
PM08K15 | 02E0_N_28 | Analog values | float | Reserve. | setp | PM08K15 | rw
PM08K16 | 02E0_N_29 | Analog values | float | Reserve. | setp | PM08K16 | rw
PM08K17 | 02E0_N_2A | Analog values | float | Reserve. | setp | PM08K17 | rw
PM08K18 | 02E0_N_2B | Analog values | float | Reserve. | setp | PM08K18 | rw
PM08K19 | 02E0_N_2C | Analog values | float | Reserve. | setp | PM08K19 | rw
PM08K20 | 02E0_N_2D | Analog values | float | Reserve. | setp | PM08K20 | rw
PM09K01 | 0340_N_1A | Analog values | float | Reserve. | setp | PM09K01 | rw
PM09K02 | 0340_N_1B | Analog values | float | Reserve. | setp | PM09K02 | rw
PM09K03 | 0340_N_1C | Analog values | float | Reserve. | setp | PM09K03 | rw
PM09K04 | 0340_N_1D | Analog values | float | Reserve. | setp | PM09K04 | rw
PM09K05 | 0340_N_1E | Analog values | float | Reserve. | setp | PM09K05 | rw
PM09K06 | 0340_N_1F | Analog values | float | Reserve. | setp | PM09K06 | rw
PM09K07 | 0340_N_20 | Analog values | float | Reserve. | setp | PM09K07 | rw
PM09K08 | 0340_N_21 | Analog values | float | Reserve. | setp | PM09K08 | rw
PM09K09 | 0340_N_22 | Analog values | float | Reserve. | setp | PM09K09 | rw
PM09K10 | 0340_N_23 | Analog values | float | Reserve. | setp | PM09K10 | rw
PM09K11 | 0340_N_24 | Analog values | float | Reserve. | setp | PM09K11 | rw
PM09K12 | 0340_N_25 | Analog values | float | Reserve. | setp | PM09K12 | rw
PM09K13 | 0340_N_26 | Analog values | float | Reserve. | setp | PM09K13 | rw
PM09K14 | 0340_N_27 | Analog values | float | Reserve. | setp | PM09K14 | rw
PM09K15 | 0340_N_28 | Analog values | float | Reserve. | setp | PM09K15 | rw
PM09K16 | 0340_N_29 | Analog values | float | Reserve. | setp | PM09K16 | rw
PM09K17 | 0340_N_2A | Analog values | float | Reserve. | setp | PM09K17 | rw
PM09K18 | 0340_N_2B | Analog values | float | Reserve. | setp | PM09K18 | rw
PM09K19 | 0340_N_2C | Analog values | float | Reserve. | setp | PM09K19 | rw
PM09K20 | 0340_N_2D | Analog values | float | Reserve. | setp | PM09K20 | rw
PM10K01 | 03A0_N_1A | Analog values | float | Reserve. | setp | PM10K01 | rw
PM10K02 | 03A0_N_1B | Analog values | float | Reserve. | setp | PM10K02 | rw
PM10K03 | 03A0_N_1C | Analog values | float | Reserve. | setp | PM10K03 | rw
PM10K04 | 03A0_N_1D | Analog values | float | Reserve. | setp | PM10K04 | rw
PM10K05 | 03A0_N_1E | Analog values | float | Reserve. | setp | PM10K05 | rw
PM10K06 | 03A0_N_1F | Analog values | float | Reserve. | setp | PM10K06 | rw
PM10K07 | 03A0_N_20 | Analog values | float | Reserve. | setp | PM10K07 | rw
PM10K08 | 03A0_N_21 | Analog values | float | Reserve. | setp | PM10K08 | rw
PM10K09 | 03A0_N_22 | Analog values | float | Reserve. | setp | PM10K09 | rw
PM10K10 | 03A0_N_23 | Analog values | float | Reserve. | setp | PM10K10 | rw
PM10K11 | 03A0_N_24 | Analog values | float | Reserve. | setp | PM10K11 | rw
PM10K12 | 03A0_N_25 | Analog values | float | Reserve. | setp | PM10K12 | rw
PM10K13 | 03A0_N_26 | Analog values | float | Reserve. | setp | PM10K13 | rw
PM10K14 | 03A0_N_27 | Analog values | float | Reserve. | setp | PM10K14 | rw
PM10K15 | 03A0_N_28 | Analog values | float | Reserve. | setp | PM10K15 | rw
PM10K16 | 03A0_N_29 | Analog values | float | Reserve. | setp | PM10K16 | rw
PM10K17 | 03A0_N_2A | Analog values | float | Reserve. | setp | PM10K17 | rw
PM10K18 | 03A0_N_2B | Analog values | float | Reserve. | setp | PM10K18 | rw
PM10K19 | 03A0_N_2C | Analog values | float | Reserve. | setp | PM10K19 | rw
PM10K20 | 03A0_N_2D | Analog values | float | Reserve. | setp | PM10K20 | rw
PM11K01 | 0400_N_1A | Analog values | float | Reserve. | setp | PM11K01 | rw
PM11K02 | 0400_N_1B | Analog values | float | Reserve. | setp | PM11K02 | rw
PM11K03 | 0400_N_1C | Analog values | float | Reserve. | setp | PM11K03 | rw
PM11K04 | 0400_N_1D | Analog values | float | Reserve. | setp | PM11K04 | rw
PM11K05 | 0400_N_1E | Analog values | float | Reserve. | setp | PM11K05 | rw
PM11K06 | 0400_N_1F | Analog values | float | Reserve. | setp | PM11K06 | rw
PM11K07 | 0400_N_20 | Analog values | float | Reserve. | setp | PM11K07 | rw
PM11K08 | 0400_N_21 | Analog values | float | Reserve. | setp | PM11K08 | rw
PM11K09 | 0400_N_22 | Analog values | float | Reserve. | setp | PM11K09 | rw
PM11K10 | 0400_N_23 | Analog values | float | Reserve. | setp | PM11K10 | rw
PM11K11 | 0400_N_24 | Analog values | float | Reserve. | setp | PM11K11 | rw
PM11K12 | 0400_N_25 | Analog values | float | Reserve. | setp | PM11K12 | rw
PM11K13 | 0400_N_26 | Analog values | float | Reserve. | setp | PM11K13 | rw
PM11K14 | 0400_N_27 | Analog values | float | Reserve. | setp | PM11K14 | rw
PM11K15 | 0400_N_28 | Analog values | float | Reserve. | setp | PM11K15 | rw
PM11K16 | 0400_N_29 | Analog values | float | Reserve. | setp | PM11K16 | rw
PM11K17 | 0400_N_2A | Analog values | float | Reserve. | setp | PM11K17 | rw
PM11K18 | 0400_N_2B | Analog values | float | Reserve. | setp | PM11K18 | rw
PM11K19 | 0400_N_2C | Analog values | float | Reserve. | setp | PM11K19 | rw
PM11K20 | 0400_N_2D | Analog values | float | Reserve. | setp | PM11K20 | rw
PM12K01 | 0460_N_1A | Analog values | float | Reserve. | setp | PM12K01 | rw
PM12K02 | 0460_N_1B | Analog values | float | Reserve. | setp | PM12K02 | rw
PM12K03 | 0460_N_1C | Analog values | float | Reserve. | setp | PM12K03 | rw
PM12K04 | 0460_N_1D | Analog values | float | Reserve. | setp | PM12K04 | rw
PM12K05 | 0460_N_1E | Analog values | float | Reserve. | setp | PM12K05 | rw
PM12K06 | 0460_N_1F | Analog values | float | Reserve. | setp | PM12K06 | rw
PM12K07 | 0460_N_20 | Analog values | float | Reserve. | setp | PM12K07 | rw
PM12K08 | 0460_N_21 | Analog values | float | Reserve. | setp | PM12K08 | rw
PM12K09 | 0460_N_22 | Analog values | float | Reserve. | setp | PM12K09 | rw
PM12K10 | 0460_N_23 | Analog values | float | Reserve. | setp | PM12K10 | rw
PM12K11 | 0460_N_24 | Analog values | float | Reserve. | setp | PM12K11 | rw
PM12K12 | 0460_N_25 | Analog values | float | Reserve. | setp | PM12K12 | rw
PM12K13 | 0460_N_26 | Analog values | float | Reserve. | setp | PM12K13 | rw
PM12K14 | 0460_N_27 | Analog values | float | Reserve. | setp | PM12K14 | rw
PM12K15 | 0460_N_28 | Analog values | float | Reserve. | setp | PM12K15 | rw
PM12K16 | 0460_N_29 | Analog values | float | Reserve. | setp | PM12K16 | rw
PM12K17 | 0460_N_2A | Analog values | float | Reserve. | setp | PM12K17 | rw
PM12K18 | 0460_N_2B | Analog values | float | Reserve. | setp | PM12K18 | rw
PM12K19 | 0460_N_2C | Analog values | float | Reserve. | setp | PM12K19 | rw
PM12K20 | 0460_N_2D | Analog values | float | Reserve. | setp | PM12K20 | rw
PM01OU01 | 0040_N_3C | Analog values | float | Reserve. | setp | PM01OU01 | rw
PM01OU02 | 0040_N_3D | Analog values | float | Reserve. | setp | PM01OU02 | rw
PM01OU03 | 0040_N_3E | Analog values | float | Reserve. | setp | PM01OU03 | rw
PM01OU04 | 0040_N_3F | Analog values | float | Reserve. | setp | PM01OU04 | rw
PM01OU05 | 0040_N_40 | Analog values | float | Reserve. | setp | PM01OU05 | rw
PM01OU06 | 0040_N_41 | Analog values | float | Reserve. | setp | PM01OU06 | rw
PM01OU07 | 0040_N_42 | Analog values | float | Reserve. | setp | PM01OU07 | rw
PM01OU08 | 0040_N_43 | Analog values | float | Reserve. | setp | PM01OU08 | rw
PM02OU01 | 00A0_N_3C | Analog values | float | Reserve. | setp | PM02OU01 | rw
PM02OU02 | 00A0_N_3D | Analog values | float | Reserve. | setp | PM02OU02 | rw
PM02OU03 | 00A0_N_3E | Analog values | float | Reserve. | setp | PM02OU03 | rw
PM02OU04 | 00A0_N_3F | Analog values | float | Reserve. | setp | PM02OU04 | rw
PM02OU05 | 00A0_N_40 | Analog values | float | Reserve. | setp | PM02OU05 | rw
PM02OU06 | 00A0_N_41 | Analog values | float | Reserve. | setp | PM02OU06 | rw
PM02OU07 | 00A0_N_42 | Analog values | float | Reserve. | setp | PM02OU07 | rw
PM02OU08 | 00A0_N_43 | Analog values | float | Reserve. | setp | PM02OU08 | rw
PM03OU01 | 0100_N_3C | Analog values | float | Reserve. | setp | PM03OU01 | rw
PM03OU02 | 0100_N_3D | Analog values | float | Reserve. | setp | PM03OU02 | rw
PM03OU03 | 0100_N_3E | Analog values | float | Reserve. | setp | PM03OU03 | rw
PM03OU04 | 0100_N_3F | Analog values | float | Reserve. | setp | PM03OU04 | rw
PM03OU05 | 0100_N_40 | Analog values | float | Reserve. | setp | PM03OU05 | rw
PM03OU06 | 0100_N_41 | Analog values | float | Reserve. | setp | PM03OU06 | rw
PM03OU07 | 0100_N_42 | Analog values | float | Reserve. | setp | PM03OU07 | rw
PM03OU08 | 0100_N_43 | Analog values | float | Reserve. | setp | PM03OU08 | rw
PM04OU01 | 0160_N_3C | Analog values | float | Reserve. | setp | PM04OU01 | rw
PM04OU02 | 0160_N_3D | Analog values | float | Reserve. | setp | PM04OU02 | rw
PM04OU03 | 0160_N_3E | Analog values | float | Reserve. | setp | PM04OU03 | rw
PM04OU04 | 0160_N_3F | Analog values | float | Reserve. | setp | PM04OU04 | rw
PM04OU05 | 0160_N_40 | Analog values | float | Reserve. | setp | PM04OU05 | rw
PM04OU06 | 0160_N_41 | Analog values | float | Reserve. | setp | PM04OU06 | rw
PM04OU07 | 0160_N_42 | Analog values | float | Reserve. | setp | PM04OU07 | rw
PM04OU08 | 0160_N_43 | Analog values | float | Reserve. | setp | PM04OU08 | rw
PM05OU01 | 01C0_N_3C | Analog values | float | Reserve. | setp | PM05OU01 | rw
PM05OU02 | 01C0_N_3D | Analog values | float | Reserve. | setp | PM05OU02 | rw
PM05OU03 | 01C0_N_3E | Analog values | float | Reserve. | setp | PM05OU03 | rw
PM05OU04 | 01C0_N_3F | Analog values | float | Reserve. | setp | PM05OU04 | rw
PM05OU05 | 01C0_N_40 | Analog values | float | Reserve. | setp | PM05OU05 | rw
PM05OU06 | 01C0_N_41 | Analog values | float | Reserve. | setp | PM05OU06 | rw
PM05OU07 | 01C0_N_42 | Analog values | float | Reserve. | setp | PM05OU07 | rw
PM06OU01 | 0220_N_3C | Analog values | float | Reserve. | setp | PM06OU01 | rw
PM06OU02 | 0220_N_3D | Analog values | float | Reserve. | setp | PM06OU02 | rw
PM06OU03 | 0220_N_3E | Analog values | float | Reserve. | setp | PM06OU03 | rw
PM06OU04 | 0220_N_3F | Analog values | float | Reserve. | setp | PM06OU04 | rw
PM06OU05 | 0220_N_40 | Analog values | float | Reserve. | setp | PM06OU05 | rw
PM06OU06 | 0220_N_41 | Analog values | float | Reserve. | setp | PM06OU06 | rw
PM06OU07 | 0220_N_42 | Analog values | float | Reserve. | setp | PM06OU07 | rw
PM06OU08 | 0220_N_43 | Analog values | float | Reserve. | setp | PM06OU08 | rw
PM07OU01 | 0280_N_3C | Analog values | float | Reserve. | setp | PM07OU01 | rw
PM07OU02 | 0280_N_3D | Analog values | float | Reserve. | setp | PM07OU02 | rw
PM07OU03 | 0280_N_3E | Analog values | float | Reserve. | setp | PM07OU03 | rw
PM07OU04 | 0280_N_3F | Analog values | float | Reserve. | setp | PM07OU04 | rw
PM07OU05 | 0280_N_40 | Analog values | float | Reserve. | setp | PM07OU05 | rw
PM07OU06 | 0280_N_41 | Analog values | float | Reserve. | setp | PM07OU06 | rw
PM07OU07 | 0280_N_42 | Analog values | float | Reserve. | setp | PM07OU07 | rw
PM07OU08 | 0280_N_43 | Analog values | float | Reserve. | setp | PM07OU08 | rw
PM08OU01 | 02E0_N_3C | Analog values | float | Reserve. | setp | PM08OU01 | rw
PM08OU02 | 02E0_N_3D | Analog values | float | Reserve. | setp | PM08OU02 | rw
PM08OU03 | 02E0_N_3E | Analog values | float | Reserve. | setp | PM08OU03 | rw
PM08OU04 | 02E0_N_3F | Analog values | float | Reserve. | setp | PM08OU04 | rw
PM08OU05 | 02E0_N_40 | Analog values | float | Reserve. | setp | PM08OU05 | rw
PM08OU06 | 02E0_N_41 | Analog values | float | Reserve. | setp | PM08OU06 | rw
PM08OU07 | 02E0_N_42 | Analog values | float | Reserve. | setp | PM08OU07 | rw
PM08OU08 | 02E0_N_43 | Analog values | float | Reserve. | setp | PM08OU08 | rw
PM09OU01 | 0340_N_3C | Analog values | float | Reserve. | setp | PM09OU01 | rw
PM09OU02 | 0340_N_3D | Analog values | float | Reserve. | setp | PM09OU02 | rw
PM09OU03 | 0340_N_3E | Analog values | float | Reserve. | setp | PM09OU03 | rw
PM09OU04 | 0340_N_3F | Analog values | float | Reserve. | setp | PM09OU04 | rw
PM09OU05 | 0340_N_40 | Analog values | float | Reserve. | setp | PM09OU05 | rw
PM09OU06 | 0340_N_41 | Analog values | float | Reserve. | setp | PM09OU06 | rw
PM09OU07 | 0340_N_42 | Analog values | float | Reserve. | setp | PM09OU07 | rw
PM09OU08 | 0340_N_43 | Analog values | float | Reserve. | setp | PM09OU08 | rw
PM10OU01 | 03A0_N_3C | Analog values | float | Reserve. | setp | PM10OU01 | rw
PM10OU02 | 03A0_N_3D | Analog values | float | Reserve. | setp | PM10OU02 | rw
PM10OU03 | 03A0_N_3E | Analog values | float | Reserve. | setp | PM10OU03 | rw
PM10OU04 | 03A0_N_3F | Analog values | float | Reserve. | setp | PM10OU04 | rw
PM10OU05 | 03A0_N_40 | Analog values | float | Reserve. | setp | PM10OU05 | rw
PM10OU06 | 03A0_N_41 | Analog values | float | Reserve. | setp | PM10OU06 | rw
PM10OU07 | 03A0_N_42 | Analog values | float | Reserve. | setp | PM10OU07 | rw
PM10OU08 | 03A0_N_43 | Analog values | float | Reserve. | setp | PM10OU08 | rw
PM11OU01 | 0400_N_3C | Analog values | float | Reserve. | setp | PM11OU01 | rw
PM11OU02 | 0400_N_3D | Analog values | float | Reserve. | setp | PM11OU02 | rw
PM11OU03 | 0400_N_3E | Analog values | float | Reserve. | setp | PM11OU03 | rw
PM11OU04 | 0400_N_3F | Analog values | float | Reserve. | setp | PM11OU04 | rw
PM11OU05 | 0400_N_40 | Analog values | float | Reserve. | setp | PM11OU05 | rw
PM11OU06 | 0400_N_41 | Analog values | float | Reserve. | setp | PM11OU06 | rw
PM11OU07 | 0400_N_42 | Analog values | float | Reserve. | setp | PM11OU07 | rw
PM11OU08 | 0400_N_43 | Analog values | float | Reserve. | setp | PM11OU08 | rw
PM12OU01 | 0460_N_3C | Analog values | float | Reserve. | setp | PM12OU01 | rw
PM12OU02 | 0460_N_3D | Analog values | float | Reserve. | setp | PM12OU02 | rw
PM12OU03 | 0460_N_3E | Analog values | float | Reserve. | setp | PM12OU03 | rw
PM12OU04 | 0460_N_3F | Analog values | float | Reserve. | setp | PM12OU04 | rw
PM12OU05 | 0460_N_40 | Analog values | float | Reserve. | setp | PM12OU05 | rw
PM12OU06 | 0460_N_41 | Analog values | float | Reserve. | setp | PM12OU06 | rw
PM12OU07 | 0460_N_42 | Analog values | float | Reserve. | setp | PM12OU07 | rw
PM12OU08 | 0460_N_43 | Analog values | float | Reserve. | setp | PM12OU08 | rw
PM01AX01 | 0040_N_44 | Analog values | float | Reserve. | setp | PM01AX01 | rw
PM01AX02 | 0040_N_45 | Analog values | float | Reserve. | setp | PM01AX02 | rw
PM02AX01 | 00A0_N_44 | Analog values | float | Reserve. | setp | PM02AX01 | rw
PM02AX02 | 00A0_N_45 | Analog values | float | Reserve. | setp | PM02AX02 | rw
PM03AX01 | 0100_N_44 | Analog values | float | Reserve. | setp | PM03AX01 | rw
PM03AX02 | 0100_N_45 | Analog values | float | Reserve. | setp | PM03AX02 | rw
PM04AX01 | 0160_N_44 | Analog values | float | Reserve. | setp | PM04AX01 | rw
PM04AX02 | 0160_N_45 | Analog values | float | Reserve. | setp | PM04AX02 | rw
PM05AX01 | 01C0_N_44 | Analog values | float | Reserve. | setp | PM05AX01 | rw
PM05AX02 | 01C0_N_45 | Analog values | float | Reserve. | setp | PM05AX02 | rw
PM06AX01 | 0220_N_44 | Analog values | float | Reserve. | setp | PM06AX01 | rw
PM06AX02 | 0220_N_45 | Analog values | float | Reserve. | setp | PM06AX02 | rw
PM07AX01 | 0280_N_44 | Analog values | float | Reserve. | setp | PM07AX01 | rw
PM07AX02 | 0280_N_45 | Analog values | float | Reserve. | setp | PM07AX02 | rw
PM08AX01 | 02E0_N_44 | Analog values | float | Reserve. | setp | PM08AX01 | rw
PM08AX02 | 02E0_N_45 | Analog values | float | Reserve. | setp | PM08AX02 | rw
PM09AX01 | 0340_N_44 | Analog values | float | Reserve. | setp | PM09AX01 | rw
PM09AX02 | 0340_N_45 | Analog values | float | Reserve. | setp | PM09AX02 | rw
PM10AX01 | 03A0_N_44 | Analog values | float | Reserve. | setp | PM10AX01 | rw
PM10AX02 | 03A0_N_45 | Analog values | float | Reserve. | setp | PM10AX02 | rw
PM11AX01 | 0400_N_44 | Analog values | float | Reserve. | setp | PM11AX01 | rw
PM11AX02 | 0400_N_45 | Analog values | float | Reserve. | setp | PM11AX02 | rw
PM12AX01 | 0460_N_44 | Analog values | float | Reserve. | setp | PM12AX01 | rw
PM12AX02 | 0460_N_45 | Analog values | float | Reserve. | setp | PM12AX02 | rw
OUT3 | 0560_N_0B | Analog values | float | Reserve. | ao | OUT3 | r
OUT4 | 0570_N_0B | Analog values | float | Reserve. | ao | OUT4 | r
OUT5 | 0580_N_0B | Analog values | float | Reserve. | ao | OUT5 | r
OUT6 | 0590_N_0B | Analog values | float | Reserve. | ao | OUT6 | r
OUT7 | 05A0_N_0B | Analog values | float | Reserve. | ao | OUT7 | r
OUT8 | 05B0_N_0B | Analog values | float | Reserve. | ao | OUT8 | r
HIA1 | 04C0_N_03 | Analog values | float | Reserve. | setp | HIA1 | rw
HIA2 | 04D0_N_03 | Analog values | float | Reserve. | setp | HIA2 | rw
HIA3 | 04E0_N_03 | Analog values | float | Reserve. | setp | HIA3 | rw
HIA4 | 04F0_N_03 | Analog values | float | Reserve. | setp | HIA4 | rw
HIA5 | 0500_N_03 | Analog values | float | Reserve. | setp | HIA5 | rw
HIA6 | 0510_N_03 | Analog values | float | Reserve. | setp | HIA6 | rw
HIA7 | 0520_N_03 | Analog values | float | Reserve. | setp | HIA7 | rw
HIA8 | 0530_N_03 | Analog values | float | Reserve. | setp | HIA8 | rw
XT01HIA01 | 05C0_N_1C | Analog values | float | Reserve. | setp | XT1HIA1 | rw
XT01HIA02 | 05C0_N_1E | Analog values | float | Reserve. | setp | XT1HIA2 | rw
XT8HIA2 | 07F0_N_1E | Analog values | float | Reserve. | setp | XT8HIA2 | rw

## Guide EN
Guide – IWMAC Template 05 DX9100
Template for Johnson DX9100 controllers. Fill in Template 1 or Template 2 with your parameters.
Column | Description
Gruppe | Group/system identifier (technical – do not translate)
Element_id | N2 protocol address, e.g. PM01K01, AI1
System number | TFM system number, e.g. 360.001
Tag text | Component code/tag, e.g. RT401
Aliastext | Descriptive name of the parameter
Alarm | Alarm level: A (highest/SMS), B or C
Eng unit | Engineering unit, e.g. °C, %, m³/h
Scale | Scaling, e.g. x100 or x10
Note | See the Example tab for a filled-in example
Note | See Element IDs tab for all DX9100 element ID references

## Guide DA
Vejledning – IWMAC Skabelon 05 DX9100
Skabelon til Johnson DX9100-regulatorer. Udfyld Template 1 eller Template 2 med dine parametre.
Kolonne | Beskrivelse
Gruppe | Gruppe/systemidentifikator (teknisk – oversættes ikke)
Element_id | N2-protokoladresse, f.eks. PM01K01, AI1
System number | TFM-systemnummer, f.eks. 360.001
Tag text | Komponentkode/tag, f.eks. RT401
Aliastext | Beskrivende navn på parameteren
Alarm | Alarmprioritet: A (højest/SMS), B eller C
Eng unit | Måleenhed, f.eks. °C, %, m³/h
Scale | Skalering, f.eks. x100 eller x10
Bemærk | Se fliken Example for et udfyldt eksempel
Bemærk | Se fliken Element IDs for alle DX9100 element-ID-referencer

## Guide DE
Anleitung – IWMAC Vorlage 05 DX9100
Vorlage für Johnson DX9100-Regler. Füllen Sie Template 1 oder Template 2 mit Ihren Parametern aus.
Spalte | Beschreibung
Gruppe | Gruppen-/Systemkennung (technisch – nicht übersetzen)
Element_id | N2-Protokolladresse, z.B. PM01K01, AI1
System number | TFM-Systemnummer, z.B. 360.001
Tag text | Komponentencode/Tag, z.B. RT401
Aliastext | Beschreibender Name des Parameters
Alarm | Alarmstufe: A (höchste/SMS), B oder C
Eng unit | Einheit, z.B. °C, %, m³/h
Scale | Skalierung, z.B. x100 oder x10
Hinweis | Siehe Registerkarte Example für ein ausgefülltes Beispiel
Hinweis | Siehe Registerkarte Element IDs für alle DX9100-Referenzen

## Guide FI
Opas – IWMAC Malli 05 DX9100
Malli Johnson DX9100 -säätimille. Täytä Template 1 tai Template 2 parametreillasi.
Sarake | Kuvaus
Gruppe | Ryhmä-/järjestelmätunniste (tekninen – älä käännä)
Element_id | N2-protokollaosoite, esim. PM01K01, AI1
System number | TFM-järjestelmänumero, esim. 360.001
Tag text | Komponenttikoodi/tagi, esim. RT401
Aliastext | Parametrin kuvaileva nimi
Alarm | Hälytystaso: A (korkein/SMS), B tai C
Eng unit | Mittayksikkö, esim. °C, %, m³/h
Scale | Skaalaus, esim. x100 tai x10
Huom | Katso Example-välilehti täytettyä esimerkkiä varten
Huom | Katso Element IDs -välilehti kaikille DX9100-viitteille

## Guide FR
Guide – IWMAC Modèle 05 DX9100
Modèle pour les régulateurs Johnson DX9100. Remplissez Template 1 ou Template 2 avec vos paramètres.
Colonne | Description
Gruppe | Identifiant groupe/système (technique – ne pas traduire)
Element_id | Adresse protocole N2, p.ex. PM01K01, AI1
System number | Numéro système TFM, p.ex. 360.001
Tag text | Code composant/tag, p.ex. RT401
Aliastext | Nom descriptif du paramètre
Alarm | Priorité alarme : A (plus élevée/SMS), B ou C
Eng unit | Unité technique, p.ex. °C, %, m³/h
Scale | Mise à l'échelle, p.ex. x100 ou x10
Note | Voir l'onglet Example pour un exemple rempli
Note | Voir l'onglet Element IDs pour toutes les références DX9100

## Guide IT
Guida – IWMAC Modello 05 DX9100
Modello per i regolatori Johnson DX9100. Compilare Template 1 o Template 2 con i propri parametri.
Colonna | Descrizione
Gruppe | Identificatore gruppo/sistema (tecnico – non tradurre)
Element_id | Indirizzo protocollo N2, es. PM01K01, AI1
System number | Numero sistema TFM, es. 360.001
Tag text | Codice componente/tag, es. RT401
Aliastext | Nome descrittivo del parametro
Alarm | Priorità allarme: A (più alta/SMS), B o C
Eng unit | Unità tecnica, es. °C, %, m³/h
Scale | Scalatura, es. x100 o x10
Nota | Vedere la scheda Example per un esempio compilato
Nota | Vedere la scheda Element IDs per tutti i riferimenti DX9100

## Guide NO
Veiledning – IWMAC Mal 05 DX9100
Mal for Johnson DX9100-regulatorer. Fyll ut Template 1 eller Template 2 med dine parametere.
Kolonne | Beskrivelse
Gruppe | Gruppe-/systemidentifikator (teknisk – ikke oversett)
Element_id | N2-protokolladresse, f.eks. PM01K01, AI1
System number | TFM-systemnummer, f.eks. 360.001
Tag text | Komponentkode/tag, f.eks. RT401
Aliastext | Beskrivende navn på parameteren
Alarm | Alarmnivå: A (høyest/SMS), B eller C
Eng unit | Måleenhet, f.eks. °C, %, m³/h
Scale | Skalering, f.eks. x100 eller x10
Merk | Se fliken Example for et utfylt eksempel
Merk | Se fliken Element IDs for alle DX9100 element-ID-referanser

## Guide PL
Przewodnik – IWMAC Szablon 05 DX9100
Szablon dla sterowników Johnson DX9100. Wypełnij Template 1 lub Template 2 swoimi parametrami.
Kolumna | Opis
Gruppe | Identyfikator grupy/systemu (techniczny – nie tłumaczyć)
Element_id | Adres protokołu N2, np. PM01K01, AI1
System number | Numer systemu TFM, np. 360.001
Tag text | Kod komponentu/tag, np. RT401
Aliastext | Opisowa nazwa parametru
Alarm | Priorytet alarmu: A (najwyższy/SMS), B lub C
Eng unit | Jednostka techniczna, np. °C, %, m³/h
Scale | Skalowanie, np. x100 lub x10
Uwaga | Patrz zakładka Example dla wypełnionego przykładu
Uwaga | Patrz zakładka Element IDs dla wszystkich referencji DX9100

## Guide SV
Guide – IWMAC Mall 05 DX9100
Mall för Johnson DX9100-regulatorer. Fyll i Template 1 eller Template 2 med dina parametrar.
Kolumn | Beskrivning
Gruppe | Grupp-/systemidentifierare (teknisk – översätt inte)
Element_id | N2-protokolladress, t.ex. PM01K01, AI1
System number | TFM-systemnummer, t.ex. 360.001
Tag text | Komponentkod/tagg, t.ex. RT401
Aliastext | Beskrivande namn på parametern
Alarm | Larmnivå: A (högst/SMS), B eller C
Eng unit | Enhet, t.ex. °C, %, m³/h
Scale | Skalning, t.ex. x100 eller x10
Obs | Se fliken Example för ifyllt exempeldata
Obs | Se fliken Element IDs för alla DX9100 element-ID-referenser