## Parameterliste
[20 empty] | Datatype | lese_skrive | Alarmnivå
Klassifisering og plassering eksempelvis Tverrfaglig Merkesystem |  |  | N2 bus- spesifikasjon FX07 / FX15 / FX16 | [7 empty] | IWMAC-presentasjon | [11 empty] | Ikke alarmerbart
| Byggkode og Systemnummer eller Bygg, etasje, (fløy) og romnummer | Komponent (og funksjonskode) | Point type | Point address | bit (adis) | Direction | Beskrivelse (Long name) | Short name | Default value | Unit of measure | datatype | Skalering | Antall desimaler | Eng-Unit | rw-flagg | Alarmnivå | Statustekster (Se fane) | Parameter - gruppe | Beskrivelser / Kommentarer | boolean | r | A | A-Alarm = SMS
|  |  | ADI | 1 |  | Output | nvo_AlarmPr1 | O_LRMPR1 | [10 empty] | Motherwords needs to be active, dont assign to group | integer | rw | B | B-alarm
|  |  | ADI | 1 | 0 | Output | Fellesfeil Pri. 1 | [8 empty] | A | NormalAlarm |  |  | float |  | C | C-alarm
|  |  | ADI | 1 | 1 | Output | Feil Tilluftsvifte | [8 empty] | A | NormalAlarm |  |  |  |  | N | Inaktiv alarm, kan aktiveres av bruker senere
|  |  | ADI | 1 | 2 | Output | Feil Avtrekksvifte | [8 empty] | A | NormalAlarm |  |  |  |  | !A
|  |  | ADI | 1 | 3 | Output | Frost alarm | [8 empty] | A | NormalAlarm |  |  |  |  | !B
|  |  | ADI | 1 | 4 | Output | Feil pumpe Varmebatt. | [8 empty] | A | NormalAlarm |  |  |  |  | !C
|  |  | ADI | 1 | 5 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 1 | 6 | Output | Overopphet El. Batt. | [8 empty] | A | NormalAlarm
|  |  | ADI | 1 | 7 | Output | Røyk alarm/Brannterm El. Batt. | [8 empty] | A | NormalAlarm
|  |  | ADI | 1 | 8 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 1 | 9 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 1 | 10 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 1 | 11 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 1 | 12 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 1 | 13 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 1 | 14 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 1 | 15 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 2 |  | Output | nvo_AlarmPr2 | O_LRMPR2 | [10 empty] | Motherwords needs to be active, dont assign to group
|  |  | ADI | 2 | 0 | Output | Fellesfeil Pri. 2 | [8 empty] | B | NormalAlarm
|  |  | ADI | 2 | 1 | Output | Feil Gjenvinner | [8 empty] | B | NormalAlarm
|  |  | ADI | 2 | 2 | Output | Virkningsgrad alarm | [8 empty] | B | NormalAlarm
|  |  | ADI | 2 | 3 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 2 | 4 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 2 | 5 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 2 | 6 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 2 | 7 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 2 | 8 | Output | Filter Inntak alarm | [8 empty] | B | NormalAlarm
|  |  | ADI | 2 | 9 | Output | Filer avtrekk alarm | [8 empty] | B | NormalAlarm
|  |  | ADI | 2 | 10 | Output | Filter No.3 alarm | [8 empty] | B | NormalAlarm
|  |  | ADI | 2 | 11 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 2 | 12 | Output | Feil Kondensatorpumpe JP40 | [8 empty] | B | NormalAlarm
|  |  | ADI | 2 | 13 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 2 | 14 | Output | Reserve. | [8 empty] | N | NormalAlarm |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 2 | 15 | Output | Reserve. | [11 empty] | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 3 |  | Output | nvo_PlantOperation | O_PLNTPR | [10 empty] | Motherwords needs to be active, dont assign to group
|  |  | ADI | 3 | 0 | Output | Manuelle overstyringer aktiv | [9 empty] | InaktivAktiv
|  |  | ADI | 3 | 1 | Output | Lokal systemvender Auto | [9 empty] | InaktivAktiv
|  |  | ADI | 3 | 2 | Output | Lokal systemvender På | [9 empty] | InaktivAktiv
|  |  | ADI | 3 | 3 | Output | Lokal systemvender Lav | [9 empty] | InaktivAktiv
|  |  | ADI | 3 | 4 | Output | Lokal systemvender Høy | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 3 | 5 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 3 | 6 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 3 | 7 | Output | Reserve. | [9 empty] | InaktivAktiv
|  |  | ADI | 3 | 8 | Output | Kjølegjenvinning pågår | [9 empty] | InaktivAktiv
|  |  | ADI | 3 | 9 | Output | Avis gjenvinner pågår | [9 empty] | InaktivAktiv
|  |  | ADI | 3 | 10 | Output | Ekstern timer aktivert | [9 empty] | InaktivAktiv
|  |  | ADI | 3 | 11 | Output | Oppvarming natt pågår | [9 empty] | InaktivAktiv
|  |  | ADI | 3 | 12 | Output | Frikjøling natt pågår | [9 empty] | InaktivAktiv
|  |  | ADI | 3 | 13 | Output | Omluft natt aktiv | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 3 | 14 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 3 | 15 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 4 |  | Output | nvo_DigOutput | O_DGTP_D | [10 empty] | Motherwords needs to be active, dont assign to group
|  |  | ADI | 4 | 0 | Output | Reserve. | [9 empty] | AvPå |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 4 | 1 | Output | Tilluft vifte | [9 empty] | AvPå
|  |  | ADI | 4 | 2 | Output | Avtrekksvifte | [9 empty] | AvPå
|  |  | ADI | 4 | 3 | Output | Reserve. | [9 empty] | AvPå |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 4 | 4 | Output | Spjeld | [9 empty] | AapenLukket
|  |  | ADI | 4 | 5 | Output | Reserve. | [9 empty] | AvPå |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 4 | 6 | Output | KM Trinn 1 | [9 empty] | AvPå
|  |  | ADI | 4 | 7 | Output | KM Trinn 2 | [9 empty] | AvPå
|  |  | ADI | 4 | 8 | Output | Kondensatorpumpe JP40 | [9 empty] | AvPå
|  |  | ADI | 4 | 9 | Output | Reserve. | [9 empty] | AvPå |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 4 | 10 | Output | Reserve. | [9 empty] | AvPå |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 4 | 11 | Output | Reserve. | [9 empty] | AvPå |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 4 | 12 | Output | Reserve. | [9 empty] | AvPå |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 4 | 13 | Output | Reserve. | [9 empty] | AvPå |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 4 | 14 | Output | Reserve. | [9 empty] | AvPå |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 4 | 15 | Output | Reserve. | [9 empty] | AvPå |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 |  | Output | Signaler | OSGNSign | [10 empty] | Motherwords needs to be active, dont assign to group
|  |  | ADI | 5 | 0 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 | 1 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 | 2 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 | 3 | Output | Motorvenr JV52 GrillAvtrk Feil | [8 empty] | A | NormalAlarm
|  |  | ADI | 5 | 4 | Output | Nattryter Auto/Natt | [9 empty] | AutoNatt
|  |  | ADI | 5 | 5 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 | 6 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 | 7 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 | 8 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 | 9 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 | 10 | Output | JV52 GrillAvtrekk Startsignal | [9 empty] | AvPå
|  |  | ADI | 5 | 11 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 | 12 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 | 13 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 | 14 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 5 | 15 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 6 |  | Output | Signaler_N3 | OSGNLR_N | [10 empty] | Motherwords needs to be active, dont assign to group
|  |  | ADI | 6 | 0 | Output | Motorvern JP43 Kjøling. Sone | [9 empty] | NormalUtløst
|  |  | ADI | 6 | 1 | Output | Feil JV53 Maskinrom | [8 empty] | A | NormalAlarm
|  |  | ADI | 6 | 2 | Output | Bryter Friskluft | [9 empty] | InaktivAktiv
|  |  | ADI | 6 | 3 | Output | Bryter Omluft | [9 empty] | InaktivAktiv
|  |  | ADI | 6 | 4 | Output | JP43 Pumpe sone Startsignal | [9 empty] | AvPå
|  |  | ADI | 6 | 5 | Output | JV53 Avtrekk MaskinR. Startsig. | [9 empty] | AvPå
|  |  | ADI | 6 | 6 | Output | KM FellesFeil | [9 empty] | InaktivAktiv
|  |  | ADI | 6 | 7 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 6 | 8 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 6 | 9 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 6 | 10 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 6 | 11 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 6 | 12 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 6 | 13 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 6 | 14 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 6 | 15 | Output | Reserve. | [9 empty] | InaktivAktiv |  | Reserve. = unused parameter, deactivate in set-table, assign to default group if no group is manually given
|  |  | ADI | 7 |  | Input | nci61_Chg2Speed | P61_CHG2 | 480 | min
|  |  | ADI | 8 |  | Input | nci62_HighSpeed | P62_HGHS | 120 | min
|  |  | ADI | 9 |  | Input | Omluft_start_periode | PMLFT_ST | 60 | min
|  |  | ADF | 1 |  | Output | nvo_SupplyTemp | O_SPPLYT | - | °C
|  |  | ADF | 2 |  | Output | nvo_OutDootTemp | O_TDTTMP | - | °C
|  |  | ADF | 3 |  | Input | nvi_SupplySetp | I_SPPLYS | - | °C
|  |  | ADF | 4 |  | Input | nvi_SupMaxSetp | I_SPMXST | - | °C
|  |  | ADF | 5 |  | Input | nvi_SupMinSetp | I_SPMNST | - | °C
|  |  | ADF | 6 |  | Input | nvi_OutMaxSetp | I_TMXSTP | - | °C
|  |  | ADF | 7 |  | Input | nvi_OutMinSerp | I_TMNSRP | - | °C
|  |  | ADF | 8 |  | Input | nvi_RoomHeatSetp | I_RMHTST | - | °C
|  |  | ADF | 9 |  | Input | nvi_OutCommon | I_TCMM_O | - | °C
|  |  | ADF | 10 |  | Output | nvo_ControlDev | O_CNTRLD | - | °C
|  |  | ADF | 11 |  | Output | nvo_ControlNo | O_CNTRLN | - | #
|  |  | ADF | 12 |  | Output | nvo_RecEff | O_RecEff | - | #
|  |  | ADF | 13 |  | Output | nvo_ActiveSetp | O_CTVSTP | - | °C
|  |  | ADF | 14 |  | Output | nvo_Recover | O_RC_Rec | - | %
|  |  | ADF | 15 |  | Output | nvo_Heat | O_Heat | - | %
|  |  | ADF | 16 |  | Output | nvo_Cool | O_Cool | - | %
|  |  | ADF | 17 |  | Input | nvi_MinLimitCondHeat | I_MNLMTC | - | °C
|  |  | ADF | 18 |  | Output | nvo_CondOvrSign | O_CNDVRS | - | %
|  |  | ADF | 19 |  | Output | nvo_CondHeat | O_CNDH_C | - | %
|  |  | ADF | 20 |  | Output | RT42_Til_e_vifte | ORT42_TL | - | °C
|  |  | ADF | 21 |  | Output | AI5_Sign_fra_kjoling | O5_SGN_F | - | %
|  |  | ADF | 22 |  | Output | AI6_Sign_fra_eltavle | O6_SGN_F | - | A
|  |  | ADF | 23 |  | Output | RT60_Butikk1 | ORT60_BT | - | °C
|  |  | ADF | 24 |  | Output | RT61_Butikk2 | ORT61_BT | - | °C
|  |  | ADF | 25 |  | Output | RT62_Butikk3 | ORT62_BT | - | °C
|  |  | ADF | 26 |  | Output | RT63_Butikk4 | ORT63_BT | - | °C
|  |  | ADF | 27 |  | Output | LR40 | OLR40 | - | %
|  |  | ADF | 28 |  | Output | LR50 | OLR50 | - | %
|  |  | ADF | 29 |  | Output | RT41_Till_Sone | ORT41_TL | - | °C
|  |  | ADF | 32 |  | Output | SB42_KB_Sone | OSB42_KB | - | %
|  |  | ADF | 33 |  | Output | Average_Room | OVRG_RAv | - | °C
|  |  | ADF | 34 |  | Output | Seq_REC_TEST | OSQ_RC_T | - | %
|  |  | ADF | 35 |  | Output | RT43 | ORT43 | - | °C
|  |  | ADF | 36 |  | Input | nci0_SupplySetp | P0_SPPLY | 18,0 | °C
|  |  | ADF | 37 |  | Input | nci1_SupplyMaxSetp | P1_SPPLY | 34,0 | °C
|  |  | ADF | 38 |  | Input | nci2_SupplyMinSetp | P2_SPPLY | 14,0 | °C
|  |  | ADF | 39 |  | Input | nci3_OutMaxSetp | P3_TMXST | -10,0 | °C
|  |  | ADF | 40 |  | Input | nci4_OutMinSetp | P4_TMNST | 10,0 | °C
|  |  | ADF | 41 |  | Input | nci5_RoomSetp | P5_RMSTP | 19,0 | °C
|  |  | ADF | 42 |  | Input | nci22_SupFanDelay | P22_SPFN | 60,0 | s
|  |  | ADF | 43 |  | Input | nci23_ExtFanDelay | P23_XTFN | 60,0 | s
|  |  | ADF | 44 |  | Input | nci24_FlowSwitchDly | P24_FLWS | 30,0 | s
|  |  | ADF | 45 |  | Input | nci25_Chg2SpFanOut | P25_CHG2 | -5,0 | °C
|  |  | ADF | 46 |  | Input | nci26_Chg2SpHiToLo | P26_CHG2 | 7,0 | s
|  |  | ADF | 47 |  | Input | nci40_SupplyPband | P40_SPPL | 25,0 | °C
|  |  | ADF | 48 |  | Input | nci41_SupplyItime | P41_SPPL | 180,0 | s
|  |  | ADF | 49 |  | Input | nci42_CascadeFactor | P42_CSCD | 5,000000 | #
|  |  | ADF | 50 |  | Input | nci43_RoomPband | P43_RMPB | 5,0 | °C
|  |  | ADF | 51 |  | Input | nci44_RoomItime | P44_RMTM | 360,0 | s
|  |  | ADF | 52 |  | Input | nci46_OutBlkNiCool | P46_TBLK | 14,0 | °C
|  |  | ADF | 53 |  | Input | nci51_RecEffAlm | P51_RCFF | 40,00 | %
|  |  | ADF | 54 |  | Input | nci53_FrostAlm | P53_FRST | 8,0 | °C
|  |  | ADF | 55 |  | Input | nci54_FrostMod | P54_FRST | 12,0 | °C
|  |  | ADF | 56 |  | Input | nci55_OutBlkHpump | P55_TBLK | 17,0 | °C
|  |  | ADF | 57 |  | Input | nci56_ElFanDelay | P56_LFND | 240,0 | s
|  |  | ADF | 58 |  | Input | nci57_CmcStDelay | P57_CMCS | 30,0 | s
|  |  | ADF | 59 |  | Input | nci58_OutMinCool | P58_TMNC | 14,0 | °C
|  |  | ADF | 60 |  | Input | nci59_OutMaxCool | P59_TMXC | 22,0 | °C
|  |  | ADF | 61 |  | Input | nci63_HeatRetNight | P63_HTRT | 18,0 | °C
|  |  | ADF | 62 |  | Input | nci64_ControlNo | P64_CNTR | 3601,000000 | #
|  |  | ADF | 63 |  | Input | nci68_FanStartLow | P68_FNST | 30,0 | s
|  |  | ADF | 64 |  | Input | nci69_BpSeqCoolRec | P69_BPSQ | 23,00 | %
|  |  | ADF | 65 |  | Input | nci70_BpSeqRecHeat | P70_BPSQ | 35,00 | %
|  |  | ADF | 66 |  | Input | nci71_MaxHeatSu | P71_MXHT | 25,00 | %
|  |  | ADF | 67 |  | Input | nci72_ValveStart | P72_VLVS | 50,00 | %
|  |  | ADF | 68 |  | Input | nci74_RecManPos | P74_RCMN | 0,00 | %
|  |  | ADF | 69 |  | Input | nci75_HeatManPos | P75_HTMN | 0,00 | %
|  |  | ADF | 70 |  | Input | nci76_CoolManPos | P76_CLMN | 0,00 | %
|  |  | ADF | 71 |  | Input | nci85_DeviSupTemp | P85_DVSP | 0,0 | s
|  |  | ADF | 72 |  | Input | nci86_DeviRoomTemp | P86_DVRM | 0,0 | s
|  |  | ADF | 73 |  | Input | nci91_MinCoHeSetp | P91_MNCH | 3,0 | °C
|  |  | ADF | 74 |  | Input | nci92_CondHeOvrMan | P92_CNDH | 0,00 | %
|  |  | ADF | 75 |  | Input | nci93_BpCoHe_CoOvr | P93_BPCH | 55,00 | %
|  |  | ADF | 76 |  | Input | nci94_BpCoOvr_SuHe | P94_BPCV | 85,00 | %
|  |  | ADF | 77 |  | Input | nci95_TestSeqPos | P95_TSTS | 0,00 | %
|  |  | ADF | 78 |  | Input | nci97_CondHeatMan | P97_CNDH | 0,00 | %
|  |  | ADF | 79 |  | Input | Delay_Luftvakt_QP52 | PDLY_LFT | 20,0 | s
|  |  | ADF | 80 |  | Input | Man_Hast_Tilluft | PMN_HST_ | 0,00 | %
|  |  | ADF | 81 |  | Input | Man_Hast_Avtrekk | PMADF_80 | 0,00 | %
|  |  | ADF | 82 |  | Input | Ute_Lavfart | PT_LVFRT | 27,0 | °C
|  |  | ADF | 83 |  | Input | Vifte_Lavhast | PVFT_LVH | 50,00 | %
|  |  | ADF | 84 |  | Input | Vifte_Hoyhast | PVFT_HYH | 100,00 | %
|  |  | ADF | 85 |  | Input | KM_Sign_High | PKM_SGN_ | 100,00 | %
|  |  | ADF | 86 |  | Input | KM_Sign_LOW | PKADF_85 | 80,00 | %
|  |  | ADF | 87 |  | Input | Night_out_diff | PNGHT_T_ | 2,0 | °C
|  |  | ADF | 88 |  | Input | Freecool_Night_diff | PFRCL_NG | 2,0 | °C
|  |  | ADF | 89 |  | Input | Freecool_N_Stop_dif | PFRCL_N_ | 1,0 | °C
|  |  | ADF | 90 |  | Input | Night_heat_Out | PNGHT_HT | 5,0 | °C
|  |  | ADF | 91 |  | Input | RomSetp_Night_summer | PRMSTP_N | 2,0 | °C
|  |  | ADF | 92 |  | Input | Setp_Blokk_EL | PSTP_BLK | -5,0 | °C
|  |  | ADF | 93 |  | Input | Amp_0_Elheat | PMP_0_LH | 310,0 | A
|  |  | ADF | 94 |  | Input | Amp_100_Elheat | PMP_100_ | 280,0 | A
|  |  | ADF | 95 |  | Input | AI6_High_Range | P6_HGH_R | 1000,0 | A
|  |  | ADF | 96 |  | Input | AI6_Low_Range | P6_LW_RN | 0,0 | A
|  |  | ADF | 97 |  | Input | Setp_SoneAvtrekk | PSTP_SNS | 21,0 | °C
|  |  | ADF | 98 |  | Input | Pband_Sup | PPBND_SP | 25,0 | °C
|  |  | ADF | 99 |  | Input | Itime_Sup | PTMItime | 120,0 | s
|  |  | ADF | 102 |  | Input | Man_SB41 | PMN_SB41 | 0,00 | %
|  |  | ADF | 103 |  | Input | Man_SB42 | PMN_SB42 | 0,00 | %
|  |  | ADF | 105 |  | Input | SP_Min_Tur_KjoleBatt | PSP_MN_T | 5,0 | °C
|  |  | ADF | 106 |  | Input | PB_Min_Tur_KjoleBatt | PPB_MN_T | 10,0 | °C
|  |  | ADF | 107 |  | Input | IT_Min_Tur_KjoleBatt | PT_MN_TR | 70,0 | s
|  |  | ADF | 30 |  | Output | AI3_RT44_Tur_Isvann | O3_RT44_ | - | °C
|  |  | ADF | 31 |  | Output | Kalk_Tilluft_Sone | OKLK_TLL | - | °C
|  |  | ADF | 100 |  | Output | AI2_RT51_Avtrekk_Son | O2_RT51_ | - | °C
|  |  | ADF | 101 |  | Output | RT64_Maskinrom_ | ORT64_MS | - | °C
|  |  | ADF | 104 |  | Input | Pband_Rom_Sone | PPBND_RM | 5,0 | °C
|  |  | ADF | 108 |  | Input | Itid_rom_Sone | PTD_RM_S | 300,0 | s
|  |  | ADF | 109 |  | Input | Min_Tilluft_Sone | PMN_TLLF | 14,0 | °C
|  |  | ADF | 110 |  | Input | Maks_Tilluft_Sone | PMKS_TLL | 25,0 | °C
|  |  | ADF | 111 |  | Input | Setp_MaskinRom | PSTP_MSK | 24,0 | °C
|  |  | BD | 1 |  | Input | nvi_SystemSwitch | I_SYSTMS | -
|  |  | BD | 2 |  | Input | nvi_StartCommand | I_STRTCM | -
|  |  | BD | 3 |  | Input | nvi_FanCommand | I_FNCMMN | -
|  |  | BD | 4 |  | Output | DO_JV52 | ODO_JV52 | -
|  |  | BD | 6 |  | Output | Feil_JV52 | OFL_JV52 | -
|  |  | BD | 8 |  | Output | Max_Startup | OMX_STRT | -
|  |  | BD | 10 |  | Input | nci6_ConfigA | P6_CNFG6 | 0, Enum_0
|  |  | BD | 11 |  | Input | nci7_ConfigB | P7_CNFGB | 0, Enum_0
|  |  | BD | 12 |  | Input | nci8-ConfigC | P8-CNFGC | 0, Enum_0
|  |  | BD | 13 |  | Input | nci9_ConfigD | P9_CNFGD | 0, Enum_0
|  |  | BD | 14 |  | Input | nci11_ConfigF | P11_CNFG | 1, Enum_1
|  |  | BD | 15 |  | Input | nci12_ConfigH | P12_CNFG | 0, Enum_0
|  |  | BD | 16 |  | Input | nci13_ConfigI | P13_CNFG | 5, Enum_5
|  |  | BD | 17 |  | Input | nci14_ConfigJ | P14_CNFG | 5, Enum_5
|  |  | BD | 18 |  | Input | nci15_ConfigL | P15_CNFG | 1, Enum_1
|  |  | BD | 19 |  | Input | nci17_ConfigM | P17_CNFG | 0, Enum_0
|  |  | BD | 20 |  | Input | nci18_ConfigS | P18_CNFG | 3, Enum_3
|  |  | BD | 21 |  | Input | nci19_ConfigV | P19_CNFG | 3, Enum_3
|  |  | BD | 22 |  | Input | nci20_ConfigW | P20_CNFG | 1, Enum_1
|  |  | BD | 23 |  | Input | nci21_ConfigY | P21_CNFG | 1, Enum_1
|  |  | BD | 24 |  | Input | nci73_ManOverride | P73_MNVR | 0, Enum_0
|  |  | BD | 25 |  | Input | nci83_ModifyDay | P83_MDFY | 0, Sunday
|  |  | BD | 26 |  | Input | nci84_SetTimeDay | P84_STTM | 0, LOG_OFF
|  |  | BD | 27 |  | Input | nci90_ConfigO | P90_CNFG | 1, Enum_1
|  |  | BD | 28 |  | Input | nci96_TestSeqON | P96_TSTS | 0, LOG_OFF
|  |  | BD | 29 |  | Input | DCO_JV52 | PDC_JV52 | 1, LOG_ON
|  |  | BD | 30 |  | Input | Man_Vifte | PMN_VFTM | 0, Enum_0
|  |  | BD | 31 |  | Input | Manuell_Sone | PMNLL_SN | 0, Enum_0
|  |  | BD | 33 |  | Input | Bypass_Max_elbatt | PBYPSS_M | 0, LOG_OFF
|  |  | BD | 5 |  | Output | Di5_Nattbryter | OD5_NTTB | -
|  |  | BD | 7 |  | Output | DO3_JP43 | OD3_JP43 | -
|  |  | BD | 9 |  | Output | Feil_JP43 | OFL_JP43 | -
|  |  | BD | 32 |  | Output | Feil_JV53 | OFL_JV53 | -
|  |  | BD | 34 |  | Output | DO2_JV53 | OD2_JV53 | -
|  |  | BD | 35 |  | Input | DCO_JP43 | PDC_JP43 | 1, LOG_ON
|  |  | BD | 36 |  | Input | DCO_Avtrekk_MaskinR | PDC_VTRK | 1, LOG_ON
|  |  | BD | 37 |  | Output | DI1_Feil_KM | OD1_FL_K | -

## Statustekster
Statusverdi (indeks)
Status-navn | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
AvPå | Av | På
AutoAvPå | Auto | Av | På
NormalAlarm | Normal | Alarm
NormalFeil | Normal | Feil
InaktivAktiv | Inaktiv | Aktiv
AapenLukket | Lukket | Åpen | [15 empty] | Klassifisering og plassering eksempelvis Tverrfaglig Merkesystem
AutoNatt | Auto | Natt | [15 empty] | Klassifisering og plassering eksempelvis Tverrfaglig Merkesystem
NormalUtløst | Normal | Utløst

## Skalering
| Alt. 1 |  |  |  | Alt. 2
id / navn | Raw min | Raw max | Eng min | Eng max | Intercept | Slope
x0.01 | 0 | 100 | 0 | 1
x0.1 |  |  |  |  | 0 | 0.1

## parser
Element_id | driver_id | default application | parameter_type | Default Navn | Default Group | Default Group alm | Default Group setp | Default Menu
adf1 | 5_00_01 | Analog values | float | Reserve. | aio | alm | setp | adf1
adf2 | 5_01_01 | Analog values | float | Reserve. | aio | alm | setp | adf2 | ADI
adf3 | 5_02_01 | Analog values | float | Reserve. | aio | alm | setp | adf3 | ADF
adf4 | 5_03_01 | Analog values | float | Reserve. | aio | alm | setp | adf4 | BD
adf5 | 5_04_01 | Analog values | float | Reserve. | aio | alm | setp | adf5
adf6 | 5_05_01 | Analog values | float | Reserve. | aio | alm | setp | adf6
adf7 | 5_06_01 | Analog values | float | Reserve. | aio | alm | setp | adf7
adf8 | 5_07_01 | Analog values | float | Reserve. | aio | alm | setp | adf8
adf9 | 5_08_01 | Analog values | float | Reserve. | aio | alm | setp | adf9
adf10 | 5_09_01 | Analog values | float | Reserve. | aio | alm | setp | adf10
adf11 | 5_0A_01 | Analog values | float | Reserve. | aio | alm | setp | adf11
adf12 | 5_0B_01 | Analog values | float | Reserve. | aio | alm | setp | adf12
adf13 | 5_0C_01 | Analog values | float | Reserve. | aio | alm | setp | adf13
adf14 | 5_0D_01 | Analog values | float | Reserve. | aio | alm | setp | adf14
adf15 | 5_0E_01 | Analog values | float | Reserve. | aio | alm | setp | adf15
adf16 | 5_0F_01 | Analog values | float | Reserve. | aio | alm | setp | adf16
adf17 | 5_10_01 | Analog values | float | Reserve. | aio | alm | setp | adf17
adf18 | 5_11_01 | Analog values | float | Reserve. | aio | alm | setp | adf18
adf19 | 5_12_01 | Analog values | float | Reserve. | aio | alm | setp | adf19
adf20 | 5_13_01 | Analog values | float | Reserve. | aio | alm | setp | adf20
adf21 | 5_14_01 | Analog values | float | Reserve. | aio | alm | setp | adf21
adf22 | 5_15_01 | Analog values | float | Reserve. | aio | alm | setp | adf22
adf23 | 5_16_01 | Analog values | float | Reserve. | aio | alm | setp | adf23
adf24 | 5_17_01 | Analog values | float | Reserve. | aio | alm | setp | adf24
adf25 | 5_18_01 | Analog values | float | Reserve. | aio | alm | setp | adf25
adf26 | 5_19_01 | Analog values | float | Reserve. | aio | alm | setp | adf26
adf27 | 5_1A_01 | Analog values | float | Reserve. | aio | alm | setp | adf27
adf28 | 5_1B_01 | Analog values | float | Reserve. | aio | alm | setp | adf28
adf29 | 5_1C_01 | Analog values | float | Reserve. | aio | alm | setp | adf29
adf30 | 5_1D_01 | Analog values | float | Reserve. | aio | alm | setp | adf30
adf31 | 5_1E_01 | Analog values | float | Reserve. | aio | alm | setp | adf31
adf32 | 5_1F_01 | Analog values | float | Reserve. | aio | alm | setp | adf32
adf33 | 5_20_01 | Analog values | float | Reserve. | aio | alm | setp | adf33
adf34 | 5_21_01 | Analog values | float | Reserve. | aio | alm | setp | adf34
adf35 | 5_22_01 | Analog values | float | Reserve. | aio | alm | setp | adf35
adf36 | 5_23_01 | Analog values | float | Reserve. | aio | alm | setp | adf36
adf37 | 5_24_01 | Analog values | float | Reserve. | aio | alm | setp | adf37
adf38 | 5_25_01 | Analog values | float | Reserve. | aio | alm | setp | adf38
adf39 | 5_26_01 | Analog values | float | Reserve. | aio | alm | setp | adf39
adf40 | 5_27_01 | Analog values | float | Reserve. | aio | alm | setp | adf40
adf41 | 5_28_01 | Analog values | float | Reserve. | aio | alm | setp | adf41
adf42 | 5_29_01 | Analog values | float | Reserve. | aio | alm | setp | adf42
adf43 | 5_2A_01 | Analog values | float | Reserve. | aio | alm | setp | adf43
adf44 | 5_2B_01 | Analog values | float | Reserve. | aio | alm | setp | adf44
adf45 | 5_2C_01 | Analog values | float | Reserve. | aio | alm | setp | adf45
adf46 | 5_2D_01 | Analog values | float | Reserve. | aio | alm | setp | adf46
adf47 | 5_2E_01 | Analog values | float | Reserve. | aio | alm | setp | adf47
adf48 | 5_2F_01 | Analog values | float | Reserve. | aio | alm | setp | adf48
adf49 | 5_30_01 | Analog values | float | Reserve. | aio | alm | setp | adf49
adf50 | 5_31_01 | Analog values | float | Reserve. | aio | alm | setp | adf50
adf51 | 5_32_01 | Analog values | float | Reserve. | aio | alm | setp | adf51
adf52 | 5_33_01 | Analog values | float | Reserve. | aio | alm | setp | adf52
adf53 | 5_34_01 | Analog values | float | Reserve. | aio | alm | setp | adf53
adf54 | 5_35_01 | Analog values | float | Reserve. | aio | alm | setp | adf54
adf55 | 5_36_01 | Analog values | float | Reserve. | aio | alm | setp | adf55
adf56 | 5_37_01 | Analog values | float | Reserve. | aio | alm | setp | adf56
adf57 | 5_38_01 | Analog values | float | Reserve. | aio | alm | setp | adf57
adf58 | 5_39_01 | Analog values | float | Reserve. | aio | alm | setp | adf58
adf59 | 5_3A_01 | Analog values | float | Reserve. | aio | alm | setp | adf59
adf60 | 5_3B_01 | Analog values | float | Reserve. | aio | alm | setp | adf60
adf61 | 5_3C_01 | Analog values | float | Reserve. | aio | alm | setp | adf61
adf62 | 5_3D_01 | Analog values | float | Reserve. | aio | alm | setp | adf62
adf63 | 5_3E_01 | Analog values | float | Reserve. | aio | alm | setp | adf63
adf64 | 5_3F_01 | Analog values | float | Reserve. | aio | alm | setp | adf64
adf65 | 5_40_01 | Analog values | float | Reserve. | aio | alm | setp | adf65
adf66 | 5_41_01 | Analog values | float | Reserve. | aio | alm | setp | adf66
adf67 | 5_42_01 | Analog values | float | Reserve. | aio | alm | setp | adf67
adf68 | 5_43_01 | Analog values | float | Reserve. | aio | alm | setp | adf68
adf69 | 5_44_01 | Analog values | float | Reserve. | aio | alm | setp | adf69
adf70 | 5_45_01 | Analog values | float | Reserve. | aio | alm | setp | adf70
adf71 | 5_46_01 | Analog values | float | Reserve. | aio | alm | setp | adf71
adf72 | 5_47_01 | Analog values | float | Reserve. | aio | alm | setp | adf72
adf73 | 5_48_01 | Analog values | float | Reserve. | aio | alm | setp | adf73
adf74 | 5_49_01 | Analog values | float | Reserve. | aio | alm | setp | adf74
adf75 | 5_4A_01 | Analog values | float | Reserve. | aio | alm | setp | adf75
adf76 | 5_4B_01 | Analog values | float | Reserve. | aio | alm | setp | adf76
adf77 | 5_4C_01 | Analog values | float | Reserve. | aio | alm | setp | adf77
adf78 | 5_4D_01 | Analog values | float | Reserve. | aio | alm | setp | adf78
adf79 | 5_4E_01 | Analog values | float | Reserve. | aio | alm | setp | adf79
adf80 | 5_4F_01 | Analog values | float | Reserve. | aio | alm | setp | adf80
adf81 | 5_50_01 | Analog values | float | Reserve. | aio | alm | setp | adf81
adf82 | 5_51_01 | Analog values | float | Reserve. | aio | alm | setp | adf82
adf83 | 5_52_01 | Analog values | float | Reserve. | aio | alm | setp | adf83
adf84 | 5_53_01 | Analog values | float | Reserve. | aio | alm | setp | adf84
adf85 | 5_54_01 | Analog values | float | Reserve. | aio | alm | setp | adf85
adf86 | 5_55_01 | Analog values | float | Reserve. | aio | alm | setp | adf86
adf87 | 5_56_01 | Analog values | float | Reserve. | aio | alm | setp | adf87
adf88 | 5_57_01 | Analog values | float | Reserve. | aio | alm | setp | adf88
adf89 | 5_58_01 | Analog values | float | Reserve. | aio | alm | setp | adf89
adf90 | 5_59_01 | Analog values | float | Reserve. | aio | alm | setp | adf90
adf91 | 5_5A_01 | Analog values | float | Reserve. | aio | alm | setp | adf91
adf92 | 5_5B_01 | Analog values | float | Reserve. | aio | alm | setp | adf92
adf93 | 5_5C_01 | Analog values | float | Reserve. | aio | alm | setp | adf93
adf94 | 5_5D_01 | Analog values | float | Reserve. | aio | alm | setp | adf94
adf95 | 5_5E_01 | Analog values | float | Reserve. | aio | alm | setp | adf95
adf96 | 5_5F_01 | Analog values | float | Reserve. | aio | alm | setp | adf96
adf97 | 5_60_01 | Analog values | float | Reserve. | aio | alm | setp | adf97
adf98 | 5_61_01 | Analog values | float | Reserve. | aio | alm | setp | adf98
adf99 | 5_62_01 | Analog values | float | Reserve. | aio | alm | setp | adf99
adf100 | 5_63_01 | Analog values | float | Reserve. | aio | alm | setp | adf100
adf101 | 5_64_01 | Analog values | float | Reserve. | aio | alm | setp | adf101
adf102 | 5_65_01 | Analog values | float | Reserve. | aio | alm | setp | adf102
adf103 | 5_66_01 | Analog values | float | Reserve. | aio | alm | setp | adf103
adf104 | 5_67_01 | Analog values | float | Reserve. | aio | alm | setp | adf104
adf105 | 5_68_01 | Analog values | float | Reserve. | aio | alm | setp | adf105
adf106 | 5_69_01 | Analog values | float | Reserve. | aio | alm | setp | adf106
adf107 | 5_6A_01 | Analog values | float | Reserve. | aio | alm | setp | adf107
adf108 | 5_6B_01 | Analog values | float | Reserve. | aio | alm | setp | adf108
adf109 | 5_6C_01 | Analog values | float | Reserve. | aio | alm | setp | adf109
adf110 | 5_6D_01 | Analog values | float | Reserve. | aio | alm | setp | adf110
adf111 | 5_6E_01 | Analog values | float | Reserve. | aio | alm | setp | adf111
adf112 | 5_6F_01 | Analog values | float | Reserve. | aio | alm | setp | adf112
adf113 | 5_70_01 | Analog values | float | Reserve. | aio | alm | setp | adf113
adf114 | 5_71_01 | Analog values | float | Reserve. | aio | alm | setp | adf114
adf115 | 5_72_01 | Analog values | float | Reserve. | aio | alm | setp | adf115
adf116 | 5_73_01 | Analog values | float | Reserve. | aio | alm | setp | adf116
adf117 | 5_74_01 | Analog values | float | Reserve. | aio | alm | setp | adf117
adf118 | 5_75_01 | Analog values | float | Reserve. | aio | alm | setp | adf118
adf119 | 5_76_01 | Analog values | float | Reserve. | aio | alm | setp | adf119
adf120 | 5_77_01 | Analog values | float | Reserve. | aio | alm | setp | adf120
adf121 | 5_78_01 | Analog values | float | Reserve. | aio | alm | setp | adf121
adf122 | 5_79_01 | Analog values | float | Reserve. | aio | alm | setp | adf122
adf123 | 5_7A_01 | Analog values | float | Reserve. | aio | alm | setp | adf123
adf124 | 5_7B_01 | Analog values | float | Reserve. | aio | alm | setp | adf124
adf125 | 5_7C_01 | Analog values | float | Reserve. | aio | alm | setp | adf125
adf126 | 5_7D_01 | Analog values | float | Reserve. | aio | alm | setp | adf126
adf127 | 5_7E_01 | Analog values | float | Reserve. | aio | alm | setp | adf127
adf128 | 5_7F_01 | Analog values | float | Reserve. | aio | alm | setp | adf128
adf129 | 5_80_01 | Analog values | float | Reserve. | aio | alm | setp | adf129
adf130 | 5_81_01 | Analog values | float | Reserve. | aio | alm | setp | adf130
adf131 | 5_82_01 | Analog values | float | Reserve. | aio | alm | setp | adf131
adf132 | 5_83_01 | Analog values | float | Reserve. | aio | alm | setp | adf132
adf133 | 5_84_01 | Analog values | float | Reserve. | aio | alm | setp | adf133
adf134 | 5_85_01 | Analog values | float | Reserve. | aio | alm | setp | adf134
adf135 | 5_86_01 | Analog values | float | Reserve. | aio | alm | setp | adf135
adf136 | 5_87_01 | Analog values | float | Reserve. | aio | alm | setp | adf136
adf137 | 5_88_01 | Analog values | float | Reserve. | aio | alm | setp | adf137
adf138 | 5_89_01 | Analog values | float | Reserve. | aio | alm | setp | adf138
adf139 | 5_8A_01 | Analog values | float | Reserve. | aio | alm | setp | adf139
adf140 | 5_8B_01 | Analog values | float | Reserve. | aio | alm | setp | adf140
adf141 | 5_8C_01 | Analog values | float | Reserve. | aio | alm | setp | adf141
adf142 | 5_8D_01 | Analog values | float | Reserve. | aio | alm | setp | adf142
adf143 | 5_8E_01 | Analog values | float | Reserve. | aio | alm | setp | adf143
adf144 | 5_8F_01 | Analog values | float | Reserve. | aio | alm | setp | adf144
adf145 | 5_90_01 | Analog values | float | Reserve. | aio | alm | setp | adf145
adf146 | 5_91_01 | Analog values | float | Reserve. | aio | alm | setp | adf146
adf147 | 5_92_01 | Analog values | float | Reserve. | aio | alm | setp | adf147
adf148 | 5_93_01 | Analog values | float | Reserve. | aio | alm | setp | adf148
adf149 | 5_94_01 | Analog values | float | Reserve. | aio | alm | setp | adf149
adf150 | 5_95_01 | Analog values | float | Reserve. | aio | alm | setp | adf150
adf151 | 5_96_01 | Analog values | float | Reserve. | aio | alm | setp | adf151
adf152 | 5_97_01 | Analog values | float | Reserve. | aio | alm | setp | adf152
adf153 | 5_98_01 | Analog values | float | Reserve. | aio | alm | setp | adf153
adf154 | 5_99_01 | Analog values | float | Reserve. | aio | alm | setp | adf154
adf155 | 5_9A_01 | Analog values | float | Reserve. | aio | alm | setp | adf155
adf156 | 5_9B_01 | Analog values | float | Reserve. | aio | alm | setp | adf156
adf157 | 5_9C_01 | Analog values | float | Reserve. | aio | alm | setp | adf157
adf158 | 5_9D_01 | Analog values | float | Reserve. | aio | alm | setp | adf158
adf159 | 5_9E_01 | Analog values | float | Reserve. | aio | alm | setp | adf159
adf160 | 5_9F_01 | Analog values | float | Reserve. | aio | alm | setp | adf160
adf161 | 5_A0_01 | Analog values | float | Reserve. | aio | alm | setp | adf161
adf162 | 5_A1_01 | Analog values | float | Reserve. | aio | alm | setp | adf162
adf163 | 5_A2_01 | Analog values | float | Reserve. | aio | alm | setp | adf163
adf164 | 5_A3_01 | Analog values | float | Reserve. | aio | alm | setp | adf164
adf165 | 5_A4_01 | Analog values | float | Reserve. | aio | alm | setp | adf165
adf166 | 5_A5_01 | Analog values | float | Reserve. | aio | alm | setp | adf166
adf167 | 5_A6_01 | Analog values | float | Reserve. | aio | alm | setp | adf167
adf168 | 5_A7_01 | Analog values | float | Reserve. | aio | alm | setp | adf168
adf169 | 5_A8_01 | Analog values | float | Reserve. | aio | alm | setp | adf169
adf170 | 5_A9_01 | Analog values | float | Reserve. | aio | alm | setp | adf170
adf171 | 5_AA_01 | Analog values | float | Reserve. | aio | alm | setp | adf171
adf172 | 5_AB_01 | Analog values | float | Reserve. | aio | alm | setp | adf172
adf173 | 5_AC_01 | Analog values | float | Reserve. | aio | alm | setp | adf173
adf174 | 5_AD_01 | Analog values | float | Reserve. | aio | alm | setp | adf174
adf175 | 5_AE_01 | Analog values | float | Reserve. | aio | alm | setp | adf175
adf176 | 5_AF_01 | Analog values | float | Reserve. | aio | alm | setp | adf176
adf177 | 5_B0_01 | Analog values | float | Reserve. | aio | alm | setp | adf177
adf178 | 5_B1_01 | Analog values | float | Reserve. | aio | alm | setp | adf178
adf179 | 5_B2_01 | Analog values | float | Reserve. | aio | alm | setp | adf179
adf180 | 5_B3_01 | Analog values | float | Reserve. | aio | alm | setp | adf180
adi1 | 6_00_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1
adi1_0 | 6_00_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_0
adi1_1 | 6_00_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_1
adi1_2 | 6_00_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_2
adi1_3 | 6_00_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_3
adi1_4 | 6_00_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_4
adi1_5 | 6_00_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_5
adi1_6 | 6_00_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_6
adi1_7 | 6_00_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_7
adi1_8 | 6_00_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_8
adi1_9 | 6_00_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_9
adi1_10 | 6_00_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_10
adi1_11 | 6_00_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_11
adi1_12 | 6_00_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_12
adi1_13 | 6_00_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_13
adi1_14 | 6_00_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_14
adi1_15 | 6_00_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_15
adi1_16 | 6_00_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | adi1_16
adi2 | 6_01_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2
adi2_0 | 6_01_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_0
adi2_1 | 6_01_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_1
adi2_2 | 6_01_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_2
adi2_3 | 6_01_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_3
adi2_4 | 6_01_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_4
adi2_5 | 6_01_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_5
adi2_6 | 6_01_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_6
adi2_7 | 6_01_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_7
adi2_8 | 6_01_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_8
adi2_9 | 6_01_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_9
adi2_10 | 6_01_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_10
adi2_11 | 6_01_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_11
adi2_12 | 6_01_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_12
adi2_13 | 6_01_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_13
adi2_14 | 6_01_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_14
adi2_15 | 6_01_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_15
adi2_16 | 6_01_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | adi2_16
adi3 | 6_02_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3
adi3_0 | 6_02_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_0
adi3_1 | 6_02_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_1
adi3_2 | 6_02_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_2
adi3_3 | 6_02_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_3
adi3_4 | 6_02_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_4
adi3_5 | 6_02_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_5
adi3_6 | 6_02_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_6
adi3_7 | 6_02_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_7
adi3_8 | 6_02_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_8
adi3_9 | 6_02_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_9
adi3_10 | 6_02_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_10
adi3_11 | 6_02_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_11
adi3_12 | 6_02_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_12
adi3_13 | 6_02_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_13
adi3_14 | 6_02_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_14
adi3_15 | 6_02_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_15
adi3_16 | 6_02_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | adi3_16
adi4 | 6_03_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4
adi4_0 | 6_03_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_0
adi4_1 | 6_03_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_1
adi4_2 | 6_03_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_2
adi4_3 | 6_03_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_3
adi4_4 | 6_03_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_4
adi4_5 | 6_03_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_5
adi4_6 | 6_03_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_6
adi4_7 | 6_03_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_7
adi4_8 | 6_03_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_8
adi4_9 | 6_03_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_9
adi4_10 | 6_03_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_10
adi4_11 | 6_03_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_11
adi4_12 | 6_03_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_12
adi4_13 | 6_03_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_13
adi4_14 | 6_03_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_14
adi4_15 | 6_03_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_15
adi4_16 | 6_03_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | adi4_16
adi5 | 6_04_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5
adi5_0 | 6_04_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_0
adi5_1 | 6_04_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_1
adi5_2 | 6_04_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_2
adi5_3 | 6_04_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_3
adi5_4 | 6_04_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_4
adi5_5 | 6_04_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_5
adi5_6 | 6_04_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_6
adi5_7 | 6_04_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_7
adi5_8 | 6_04_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_8
adi5_9 | 6_04_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_9
adi5_10 | 6_04_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_10
adi5_11 | 6_04_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_11
adi5_12 | 6_04_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_12
adi5_13 | 6_04_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_13
adi5_14 | 6_04_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_14
adi5_15 | 6_04_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_15
adi5_16 | 6_04_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | adi5_16
adi6 | 6_05_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6
adi6_0 | 6_05_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_0
adi6_1 | 6_05_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_1
adi6_2 | 6_05_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_2
adi6_3 | 6_05_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_3
adi6_4 | 6_05_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_4
adi6_5 | 6_05_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_5
adi6_6 | 6_05_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_6
adi6_7 | 6_05_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_7
adi6_8 | 6_05_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_8
adi6_9 | 6_05_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_9
adi6_10 | 6_05_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_10
adi6_11 | 6_05_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_11
adi6_12 | 6_05_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_12
adi6_13 | 6_05_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_13
adi6_14 | 6_05_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_14
adi6_15 | 6_05_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_15
adi6_16 | 6_05_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | adi6_16
adi7 | 6_06_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7
adi7_0 | 6_06_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_0
adi7_1 | 6_06_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_1
adi7_2 | 6_06_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_2
adi7_3 | 6_06_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_3
adi7_4 | 6_06_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_4
adi7_5 | 6_06_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_5
adi7_6 | 6_06_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_6
adi7_7 | 6_06_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_7
adi7_8 | 6_06_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_8
adi7_9 | 6_06_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_9
adi7_10 | 6_06_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_10
adi7_11 | 6_06_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_11
adi7_12 | 6_06_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_12
adi7_13 | 6_06_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_13
adi7_14 | 6_06_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_14
adi7_15 | 6_06_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_15
adi7_16 | 6_06_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | adi7_16
adi8 | 6_07_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8
adi8_0 | 6_07_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_0
adi8_1 | 6_07_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_1
adi8_2 | 6_07_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_2
adi8_3 | 6_07_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_3
adi8_4 | 6_07_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_4
adi8_5 | 6_07_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_5
adi8_6 | 6_07_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_6
adi8_7 | 6_07_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_7
adi8_8 | 6_07_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_8
adi8_9 | 6_07_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_9
adi8_10 | 6_07_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_10
adi8_11 | 6_07_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_11
adi8_12 | 6_07_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_12
adi8_13 | 6_07_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_13
adi8_14 | 6_07_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_14
adi8_15 | 6_07_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_15
adi8_16 | 6_07_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | adi8_16
adi9 | 6_08_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9
adi9_0 | 6_08_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_0
adi9_1 | 6_08_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_1
adi9_2 | 6_08_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_2
adi9_3 | 6_08_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_3
adi9_4 | 6_08_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_4
adi9_5 | 6_08_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_5
adi9_6 | 6_08_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_6
adi9_7 | 6_08_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_7
adi9_8 | 6_08_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_8
adi9_9 | 6_08_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_9
adi9_10 | 6_08_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_10
adi9_11 | 6_08_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_11
adi9_12 | 6_08_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_12
adi9_13 | 6_08_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_13
adi9_14 | 6_08_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_14
adi9_15 | 6_08_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_15
adi9_16 | 6_08_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | adi9_16
adi10 | 6_09_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10
adi10_0 | 6_09_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_0
adi10_1 | 6_09_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_1
adi10_2 | 6_09_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_2
adi10_3 | 6_09_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_3
adi10_4 | 6_09_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_4
adi10_5 | 6_09_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_5
adi10_6 | 6_09_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_6
adi10_7 | 6_09_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_7
adi10_8 | 6_09_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_8
adi10_9 | 6_09_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_9
adi10_10 | 6_09_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_10
adi10_11 | 6_09_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_11
adi10_12 | 6_09_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_12
adi10_13 | 6_09_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_13
adi10_14 | 6_09_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_14
adi10_15 | 6_09_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_15
adi10_16 | 6_09_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | adi10_16
adi11 | 6_0A_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi11
adi12 | 6_0B_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi12
adi13 | 6_0C_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi13
adi14 | 6_0D_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi14
adi15 | 6_0E_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi15
adi16 | 6_0F_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi16
adi17 | 6_10_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi17
adi18 | 6_11_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi18
adi19 | 6_12_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi19
adi20 | 6_13_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi20
adi21 | 6_14_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi21
adi22 | 6_15_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi22
adi23 | 6_16_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi23
adi24 | 6_17_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi24
adi25 | 6_18_01 | Digital IO | boolean | Reserve. | dio | alm | setp | adi25
bd1 | 7_00_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1
bd1_0 | 7_00_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_0
bd1_1 | 7_00_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_1
bd1_2 | 7_00_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_2
bd1_3 | 7_00_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_3
bd1_4 | 7_00_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_4
bd1_5 | 7_00_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_5
bd1_6 | 7_00_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_6
bd1_7 | 7_00_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_7
bd1_8 | 7_00_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_8
bd1_9 | 7_00_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_9
bd1_10 | 7_00_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_10
bd1_11 | 7_00_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_11
bd1_12 | 7_00_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_12
bd1_13 | 7_00_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_13
bd1_14 | 7_00_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_14
bd1_15 | 7_00_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_15
bd1_16 | 7_00_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | bd1_16
bd2 | 7_01_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2
bd2_0 | 7_01_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_0
bd2_1 | 7_01_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_1
bd2_2 | 7_01_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_2
bd2_3 | 7_01_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_3
bd2_4 | 7_01_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_4
bd2_5 | 7_01_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_5
bd2_6 | 7_01_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_6
bd2_7 | 7_01_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_7
bd2_8 | 7_01_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_8
bd2_9 | 7_01_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_9
bd2_10 | 7_01_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_10
bd2_11 | 7_01_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_11
bd2_12 | 7_01_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_12
bd2_13 | 7_01_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_13
bd2_14 | 7_01_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_14
bd2_15 | 7_01_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_15
bd2_16 | 7_01_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | bd2_16
bd3 | 7_02_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3
bd3_0 | 7_02_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_0
bd3_1 | 7_02_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_1
bd3_2 | 7_02_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_2
bd3_3 | 7_02_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_3
bd3_4 | 7_02_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_4
bd3_5 | 7_02_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_5
bd3_6 | 7_02_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_6
bd3_7 | 7_02_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_7
bd3_8 | 7_02_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_8
bd3_9 | 7_02_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_9
bd3_10 | 7_02_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_10
bd3_11 | 7_02_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_11
bd3_12 | 7_02_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_12
bd3_13 | 7_02_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_13
bd3_14 | 7_02_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_14
bd3_15 | 7_02_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_15
bd3_16 | 7_02_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | bd3_16
bd4 | 7_03_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4
bd4_0 | 7_03_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_0
bd4_1 | 7_03_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_1
bd4_2 | 7_03_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_2
bd4_3 | 7_03_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_3
bd4_4 | 7_03_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_4
bd4_5 | 7_03_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_5
bd4_6 | 7_03_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_6
bd4_7 | 7_03_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_7
bd4_8 | 7_03_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_8
bd4_9 | 7_03_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_9
bd4_10 | 7_03_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_10
bd4_11 | 7_03_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_11
bd4_12 | 7_03_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_12
bd4_13 | 7_03_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_13
bd4_14 | 7_03_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_14
bd4_15 | 7_03_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_15
bd4_16 | 7_03_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | bd4_16
bd5 | 7_04_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5
bd5_0 | 7_04_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_0
bd5_1 | 7_04_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_1
bd5_2 | 7_04_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_2
bd5_3 | 7_04_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_3
bd5_4 | 7_04_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_4
bd5_5 | 7_04_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_5
bd5_6 | 7_04_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_6
bd5_7 | 7_04_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_7
bd5_8 | 7_04_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_8
bd5_9 | 7_04_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_9
bd5_10 | 7_04_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_10
bd5_11 | 7_04_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_11
bd5_12 | 7_04_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_12
bd5_13 | 7_04_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_13
bd5_14 | 7_04_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_14
bd5_15 | 7_04_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_15
bd5_16 | 7_04_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | bd5_16
bd6 | 7_05_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd6
bd7_0 | 7_05_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_0
bd7_1 | 7_05_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_1
bd7_2 | 7_05_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_2
bd7_3 | 7_05_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_3
bd7_4 | 7_05_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_4
bd7_5 | 7_05_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_5
bd7_6 | 7_05_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_6
bd7_7 | 7_05_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_7
bd7_8 | 7_05_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_8
bd7_9 | 7_05_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_9
bd7_10 | 7_05_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_10
bd7_11 | 7_05_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_11
bd7_12 | 7_05_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_12
bd7_13 | 7_05_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_13
bd7_14 | 7_05_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_14
bd7_15 | 7_05_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_15
bd7_16 | 7_05_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_16
bd7 | 7_06_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7
bd7_0 | 7_06_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_0
bd7_1 | 7_06_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_1
bd7_2 | 7_06_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_2
bd7_3 | 7_06_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_3
bd7_4 | 7_06_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_4
bd7_5 | 7_06_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_5
bd7_6 | 7_06_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_6
bd7_7 | 7_06_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_7
bd7_8 | 7_06_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_8
bd7_9 | 7_06_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_9
bd7_10 | 7_06_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_10
bd7_11 | 7_06_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_11
bd7_12 | 7_06_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_12
bd7_13 | 7_06_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_13
bd7_14 | 7_06_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_14
bd7_15 | 7_06_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_15
bd7_16 | 7_06_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | bd7_16
bd8 | 7_07_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8
bd8_0 | 7_07_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_0
bd8_1 | 7_07_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_1
bd8_2 | 7_07_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_2
bd8_3 | 7_07_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_3
bd8_4 | 7_07_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_4
bd8_5 | 7_07_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_5
bd8_6 | 7_07_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_6
bd8_7 | 7_07_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_7
bd8_8 | 7_07_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_8
bd8_9 | 7_07_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_9
bd8_10 | 7_07_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_10
bd8_11 | 7_07_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_11
bd8_12 | 7_07_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_12
bd8_13 | 7_07_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_13
bd8_14 | 7_07_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_14
bd8_15 | 7_07_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_15
bd8_16 | 7_07_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | bd8_16
bd9 | 7_08_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9
bd9_0 | 7_08_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_0
bd9_1 | 7_08_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_1
bd9_2 | 7_08_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_2
bd9_3 | 7_08_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_3
bd9_4 | 7_08_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_4
bd9_5 | 7_08_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_5
bd9_6 | 7_08_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_6
bd9_7 | 7_08_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_7
bd9_8 | 7_08_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_8
bd9_9 | 7_08_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_9
bd9_10 | 7_08_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_10
bd9_11 | 7_08_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_11
bd9_12 | 7_08_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_12
bd9_13 | 7_08_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_13
bd9_14 | 7_08_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_14
bd9_15 | 7_08_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_15
bd9_16 | 7_08_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | bd9_16
bd10 | 7_09_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10
bd10_0 | 7_09_01.0 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_0
bd10_1 | 7_09_01.1 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_1
bd10_2 | 7_09_01.2 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_2
bd10_3 | 7_09_01.3 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_3
bd10_4 | 7_09_01.4 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_4
bd10_5 | 7_09_01.5 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_5
bd10_6 | 7_09_01.6 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_6
bd10_7 | 7_09_01.7 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_7
bd10_8 | 7_09_01.8 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_8
bd10_9 | 7_09_01.9 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_9
bd10_10 | 7_09_01.10 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_10
bd10_11 | 7_09_01.11 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_11
bd10_12 | 7_09_01.12 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_12
bd10_13 | 7_09_01.13 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_13
bd10_14 | 7_09_01.14 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_14
bd10_15 | 7_09_01.15 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_15
bd10_16 | 7_09_01.16 | Digital IO | boolean | Reserve. | dio | alm | setp | bd10_16
bd11 | 7_0A_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd11
bd12 | 7_0B_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd12
bd13 | 7_0C_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd13
bd14 | 7_0D_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd14
bd15 | 7_0E_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd15
bd16 | 7_0F_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd16
bd17 | 7_10_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd17
bd18 | 7_11_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd18
bd19 | 7_12_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd19
bd20 | 7_13_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd20
bd21 | 7_14_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd21
bd22 | 7_15_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd22
bd23 | 7_16_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd23
bd24 | 7_17_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd24
bd25 | 7_18_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd25
bd26 | 7_19_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd26
bd27 | 7_1A_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd27
bd28 | 7_1B_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd28
bd29 | 7_1C_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd29
bd30 | 7_1D_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd30
bd31 | 7_1E_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd31
bd32 | 7_1F_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd32
bd33 | 7_20_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd33
bd34 | 7_21_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd34
bd35 | 7_22_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd35
bd36 | 7_23_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd36
bd37 | 7_24_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd37
bd38 | 7_25_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd38
bd39 | 7_26_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd39
bd40 | 7_27_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd40
bd41 | 7_28_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd41
bd42 | 7_29_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd42
bd43 | 7_2A_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd43
bd44 | 7_2B_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd44
bd45 | 7_2C_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd45
bd46 | 7_2D_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd46
bd47 | 7_2E_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd47
bd48 | 7_2F_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd48
bd49 | 7_30_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd49
bd50 | 7_31_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd50
bd51 | 7_32_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd51
bd52 | 7_33_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd52
bd53 | 7_34_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd53
bd54 | 7_35_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd54
bd55 | 7_36_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd55
bd56 | 7_37_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd56
bd57 | 7_38_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd57
bd58 | 7_39_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd58
bd59 | 7_3A_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd59
bd60 | 7_3B_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd60
bd61 | 7_3C_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd61
bd62 | 7_3D_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd62
bd63 | 7_3E_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd63
bd64 | 7_3F_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd64
bd65 | 7_40_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd65
bd66 | 7_41_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd66
bd67 | 7_42_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd67
bd68 | 7_43_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd68
bd69 | 7_44_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd69
bd70 | 7_45_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd70
bd71 | 7_46_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd71
bd72 | 7_47_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd72
bd73 | 7_48_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd73
bd74 | 7_49_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd74
bd75 | 7_4A_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd75
bd76 | 7_4B_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd76
bd77 | 7_4C_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd77
bd78 | 7_4D_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd78
bd79 | 7_4E_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd79
bd80 | 7_4F_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd80
bd81 | 7_50_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd81
bd82 | 7_51_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd82
bd83 | 7_52_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd83
bd84 | 7_53_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd84
bd85 | 7_54_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd85
bd86 | 7_55_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd86
bd87 | 7_56_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd87
bd88 | 7_57_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd88
bd89 | 7_58_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd89
bd90 | 7_59_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd90
bd91 | 7_5A_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd91
bd92 | 7_5B_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd92
bd93 | 7_5C_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd93
bd94 | 7_5D_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd94
bd95 | 7_5E_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd95
bd96 | 7_5F_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd96
bd97 | 7_60_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd97
bd98 | 7_61_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd98
bd99 | 7_62_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd99
bd100 | 7_63_01 | Digital IO | boolean | Reserve. | dio | alm | setp | bd100

## Status EN
Reference | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
AvPå | Off | On
AutoAvPå | Auto | Off | On
NormalAlarm | Normal | Alarm
NormalFeil | Normal | Fault
InaktivAktiv | Inactive | Active
AapenLukket | Closed | Open
AutoNatt | Auto | Night
NormalUtløst | Normal | Triggered

## Guide EN
Guide – IWMAC Template 07 FX15
Column/Sheet | Description
Parameterliste | One row per parameter
Statustekster | Text labels for integer/boolean states
Skalering | Raw to engineering unit scaling
parser | Technical reference – do not modify
Point type | ADI=integer, ADF=float, BD=boolean
Point address | N2 address e.g. adf1, adi1, bd1
Direction | Input=read-only, Output=writable
Long name | Full descriptive name
Alarmnivå | A=highest/SMS, B or C
rw-flagg | r=read-only, rw=read/write

## Status DA
Reference | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
AvPå | Fra | Til
AutoAvPå | Auto | Fra | Til
NormalAlarm | Normal | Alarm
NormalFeil | Normal | Fejl
InaktivAktiv | Inaktiv | Aktiv
AapenLukket | Lukket | Åben
AutoNatt | Auto | Nat
NormalUtløst | Normal | Udløst

## Guide DA
Vejledning – IWMAC Skabelon 07 FX15
Column/Sheet | Beskrivelse
Parameterliste | Én række per parameter
Statustekster | Tekstetiketter for heltals/boolske tilstande
Skalering | Råværdi til teknisk enhed
parser | Teknisk reference – må ikke ændres
Point type | ADI=heltal, ADF=float, BD=boolean
Point address | N2-adresse f.eks. adf1, adi1, bd1
Direction | Input=skrivebeskyttet, Output=skrivbar
Long name | Fuldt beskrivende navn
Alarmnivå | A=højeste/SMS, B eller C
rw-flagg | r=skrivebeskyttet, rw=læse/skrive

## Status DE
Reference | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
AvPå | Aus | Ein
AutoAvPå | Auto | Aus | Ein
NormalAlarm | Normal | Alarm
NormalFeil | Normal | Fehler
InaktivAktiv | Inaktiv | Aktiv
AapenLukket | Geschlossen | Offen
AutoNatt | Auto | Nacht
NormalUtløst | Normal | Ausgelöst

## Guide DE
Anleitung – IWMAC Vorlage 07 FX15
Column/Sheet | Beschreibung
Parameterliste | Eine Zeile pro Parameter
Statustekster | Bezeichnungen für Integer/Boolean-Zustände
Skalering | Rohwert zu Ingenieurgröße
parser | Technische Referenz – nicht ändern
Point type | ADI=Integer, ADF=Float, BD=Boolean
Point address | N2-Adresse z.B. adf1, adi1, bd1
Direction | Input=Lesezugriff, Output=schreibbar
Long name | Vollständiger beschreibender Name
Alarmnivå | A=höchste/SMS, B oder C
rw-flagg | r=Lesezugriff, rw=Lesen/Schreiben

## Status FI
Reference | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
AvPå | Pois | Päällä
AutoAvPå | Auto | Pois | Päällä
NormalAlarm | Normaali | Hälytys
NormalFeil | Normaali | Vika
InaktivAktiv | Ei aktiivinen | Aktiivinen
AapenLukket | Suljettu | Auki
AutoNatt | Auto | Yö
NormalUtløst | Normaali | Lauennut

## Guide FI
Opas – IWMAC Malli 07 FX15
Column/Sheet | Kuvaus
Parameterliste | Yksi rivi per parametri
Statustekster | Tilatekstit kokonaisluku/boolean-tiloille
Skalering | Raakaarvo → tekninen yksikkö
parser | Tekninen viite – älä muokkaa
Point type | ADI=kokonaisluku, ADF=liukuluku, BD=boolean
Point address | N2-osoite esim. adf1, adi1, bd1
Direction | Input=vain luku, Output=kirjoitettava
Long name | Täydellinen kuvaileva nimi
Alarmnivå | A=korkein/SMS, B tai C
rw-flagg | r=vain luku, rw=luku/kirjoitus

## Status FR
Reference | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
AvPå | Arrêt | Marche
AutoAvPå | Auto | Arrêt | Marche
NormalAlarm | Normal | Alarme
NormalFeil | Normal | Défaut
InaktivAktiv | Inactif | Actif
AapenLukket | Fermé | Ouvert
AutoNatt | Auto | Nuit
NormalUtløst | Normal | Déclenché

## Guide FR
Guide – IWMAC Modèle 07 FX15
Column/Sheet | Description
Parameterliste | Une ligne par paramètre
Statustekster | Libellés pour états entier/booléen
Skalering | Valeur brute → unité technique
parser | Référence technique – ne pas modifier
Point type | ADI=entier, ADF=float, BD=booléen
Point address | Adresse N2 p.ex. adf1, adi1, bd1
Direction | Input=lecture seule, Output=inscriptible
Long name | Nom descriptif complet
Alarmnivå | A=plus élevé/SMS, B ou C
rw-flagg | r=lecture seule, rw=lecture/écriture

## Status IT
Reference | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
AvPå | Spento | Acceso
AutoAvPå | Auto | Spento | Acceso
NormalAlarm | Normale | Allarme
NormalFeil | Normale | Guasto
InaktivAktiv | Inattivo | Attivo
AapenLukket | Chiuso | Aperto
AutoNatt | Auto | Notte
NormalUtløst | Normale | Attivato

## Guide IT
Guida – IWMAC Modello 07 FX15
Column/Sheet | Descrizione
Parameterliste | Una riga per parametro
Statustekster | Etichette per stati interi/booleani
Skalering | Valore grezzo → unità tecnica
parser | Riferimento tecnico – non modificare
Point type | ADI=intero, ADF=float, BD=booleano
Point address | Indirizzo N2 es. adf1, adi1, bd1
Direction | Input=sola lettura, Output=scrivibile
Long name | Nome descrittivo completo
Alarmnivå | A=più alto/SMS, B o C
rw-flagg | r=sola lettura, rw=lettura/scrittura

## Status NO
Reference | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
AvPå | Av | På
AutoAvPå | Auto | Av | På
NormalAlarm | Normal | Alarm
NormalFeil | Normal | Feil
InaktivAktiv | Inaktiv | Aktiv
AapenLukket | Lukket | Åpen
AutoNatt | Auto | Natt
NormalUtløst | Normal | Utløst

## Guide NO
Veiledning – IWMAC Mal 07 FX15
Column/Sheet | Beskrivelse
Parameterliste | Én rad per parameter
Statustekster | Tekstetiketter for heltall/boolske tilstander
Skalering | Råverdi → teknisk enhet
parser | Teknisk referanse – ikke endre
Point type | ADI=heltall, ADF=float, BD=boolean
Point address | N2-adresse f.eks. adf1, adi1, bd1
Direction | Input=les, Output=skrivbar
Long name | Fullstendig beskrivende navn
Alarmnivå | A=høyest/SMS, B eller C
rw-flagg | r=les, rw=lese/skrive

## Status PL
Reference | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
AvPå | Wył. | Wł.
AutoAvPå | Auto | Wył. | Wł.
NormalAlarm | Normalny | Alarm
NormalFeil | Normalny | Błąd
InaktivAktiv | Nieaktywny | Aktywny
AapenLukket | Zamknięty | Otwarty
AutoNatt | Auto | Noc
NormalUtløst | Normalny | Wyzwolony

## Guide PL
Przewodnik – IWMAC Szablon 07 FX15
Column/Sheet | Opis
Parameterliste | Jeden wiersz na parametr
Statustekster | Etykiety dla stanów całkowitych/logicznych
Skalering | Wartość surowa → jednostka techniczna
parser | Odniesienie techniczne – nie modyfikować
Point type | ADI=całkowita, ADF=float, BD=boolean
Point address | Adres N2 np. adf1, adi1, bd1
Direction | Input=tylko odczyt, Output=zapisywalny
Long name | Pełna opisowa nazwa
Alarmnivå | A=najwyższy/SMS, B lub C
rw-flagg | r=tylko odczyt, rw=odczyt/zapis

## Status SV
Reference | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
AvPå | Av | På
AutoAvPå | Auto | Av | På
NormalAlarm | Normal | Larm
NormalFeil | Normal | Fel
InaktivAktiv | Inaktiv | Aktiv
AapenLukket | Stängd | Öppen
AutoNatt | Auto | Natt
NormalUtløst | Normal | Utlöst

## Guide SV
Guide – IWMAC Mall 07 FX15
Column/Sheet | Beskrivning
Parameterliste | En rad per parameter
Statustekster | Textmärkningar för heltal/booleska tillstånd
Skalering | Råvärde → teknisk enhet
parser | Teknisk referens – ändra inte
Point type | ADI=heltal, ADF=float, BD=boolean
Point address | N2-adress t.ex. adf1, adi1, bd1
Direction | Input=läs, Output=skrivbar
Long name | Fullständigt beskrivande namn
Alarmnivå | A=högst/SMS, B eller C
rw-flagg | r=läs, rw=läs/skriv